## Jun_30
ID | Measured Weight, Dry (g) | Measured Volume, Saturated (cm3) | Density (g/cm3) | Based on minimum ball dimension | [9 empty] | Based on equivalent ball dimension
|  |  |  | Rock Voxel | Ball Voxel | Recon'd Volume w/ Recon'd ball (cm3) | Recon'd Volume w/ Real ball (cm3) | Force Correction 0.95 Volume (cm3) | Force Correction 0.95 Error (%) | Correction (minimum) | Increased Correction (minimum) | Corrected Volume w/ Recon'd ball (cm3) | Corrected Volume Error (%) | Rock Voxel | Ball Voxel | Recon'd Volume w/ Recon'd ball (cm3) | Recon'd Volume w/ Real ball (cm3) | Force Correction 0.95 Volume (cm3) | Force Correction 0.95 Error (%) | Correction (minimum) | Correction (minimum) | Corrected Volume w/ Recon'd ball (cm3) | Corrected Volume Error (%)
1 | 2683.7 | 1014.9 | 2.6443 | 9151700 | 274110 | 1081.6633 | 966.8328 | 1027.5801 | 1.2494 | 0.91123 | 0.95561 | 1033.6537 | 1.8478 | 8116300 | 243690 | 1079.0351 | 964.4837 | 1025.0834 | 1.0034 | 0.91109 | 0.95554 | 1031.0666 | 1.5929
2 | 2050.5 | 763.5 | 2.6857 | 8793000 | 326940 | 871.3331 | 778.8315 | 827.7664 | 8.4173 | 0.8289 | 0.91445 | 796.7905 | 4.3603 | 7531700 | 282670 | 863.2339 | 771.5921 | 820.0722 | 7.4096 | 0.82794 | 0.91397 | 788.9699 | 3.3359
3 | 1542.8 | 601.8 | 2.5636 | 5808200 | 297830 | 631.8126 | 564.7388 | 600.222 | 0.26221 | 0.85606 | 0.92803 | 586.3411 | 2.5688 | 5037700 | 255080 | 639.8396 | 571.9136 | 607.8476 | 1.0049 | 0.85572 | 0.92786 | 593.6815 | 1.349
4 | 2058.7 | 791.4 | 2.6013 | 8486900 | 345870 | 794.9712 | 710.5762 | 755.2226 | 4.5713 | 0.92845 | 0.96422 | 766.5311 | 3.1424 | 6966800 | 284340 | 793.7991 | 709.5286 | 754.1091 | 4.712 | 0.92624 | 0.96312 | 764.5237 | 3.396
5 | 1828.7 | 727.6 | 2.5133 | 9633600 | 435820 | 716.1379 | 640.112 | 680.331 | 6.4966 | 0.87185 | 0.93593 | 670.2513 | 7.8819 | 8496600 | 382530 | 719.6061 | 643.212 | 683.6258 | 6.0437 | 0.87117 | 0.93558 | 673.2527 | 7.4694
6 | 1855.3 | 688.1 | 2.6963 | 6407000 | 323530 | 641.5867 | 573.4752 | 609.5074 | 11.4217 | 0.93612 | 0.96806 | 621.0944 | 9.7378 | 5565100 | 272430 | 661.8099 | 591.5515 | 628.7194 | 8.6297 | 0.93748 | 0.96874 | 641.1217 | 6.8273
7 | 1772.4 | 644 | 2.7522 | 6984000 | 340010 | 665.4689 | 594.822 | 632.1954 | 1.833 | 0.87507 | 0.93754 | 623.9003 | 3.1211 | 6633400 | 312220 | 688.3204 | 615.2476 | 653.9044 | 1.538 | 0.87458 | 0.93729 | 645.1559 | 0.17948
8 | 3127.7 | 1140.5 | 2.7424 | 13256000 | 348300 | 1233.0316 | 1102.1318 | 1171.38 | 2.7076 | 0.91449 | 0.95725 | 1180.3134 | 3.4909 | 12366000 | 325350 | 1231.3843 | 1100.6593 | 1169.8151 | 2.5704 | 0.91565 | 0.95782 | 1179.4507 | 3.4152
9 | 1557.7 | 592.7 | 2.6281 | 7114200 | 379010 | 608.1218 | 543.563 | 577.7157 | 2.5281 | 0.8169 | 0.90845 | 552.4483 | 6.7912 | 6799600 | 363210 | 606.5139 | 542.1258 | 576.1882 | 2.7859 | 0.81808 | 0.90904 | 551.3454 | 6.9773
10 | 2440.5 | 890.8 | 2.7397 | 8233300 | 276840 | 963.519 | 861.2309 | 915.3431 | 2.7552 | 0.83157 | 0.91579 | 882.3763 | 0.94564 | 8496800 | 282660 | 973.8818 | 870.4935 | 925.1877 | 3.8603 | 0.8282 | 0.9141 | 890.2253 | 0.064512
11 | 2463.5 | 966.1 | 2.5499 | 11029000 | 325170 | 1098.8562 | 982.2005 | 1043.9134 | 8.0544 | 0.93186 | 0.96593 | 1061.4182 | 9.8663 | 10850000 | 321270 | 1094.1447 | 977.9892 | 1039.4375 | 7.5911 | 0.93163 | 0.96581 | 1056.7414 | 9.3822
12 | 2107.5 | 800.8 | 2.6317 | 8480200 | 327200 | 839.6688 | 750.5287 | 797.6853 | 0.38895 | 0.8693 | 0.93465 | 784.7964 | 1.9985 | 8360800 | 319670 | 847.3467 | 757.3915 | 804.9794 | 0.5219 | 0.86988 | 0.93494 | 792.2183 | 1.0716
13 | 2458.2 | 911.4 | 2.6972 | 7587100 | 265270 | 926.6225 | 828.2514 | 880.2914 | 3.4133 | 0.89753 | 0.94877 | 879.147 | 3.5388 | 7971900 | 278800 | 926.3695 | 828.0252 | 880.0511 | 3.4396 | 0.89704 | 0.94852 | 878.68 | 3.5901
14 | 1608 | 586 | 2.744 | 6229500 | 374700 | 538.6227 | 481.442 | 511.6916 | 12.6806 | 0.8785 | 0.93925 | 505.9014 | 13.6687 | 6147900 | 369720 | 538.7274 | 481.5355 | 511.791 | 12.6637 | 0.87915 | 0.93958 | 506.1748 | 13.6221
15 | 2621 | 1043.6 | 2.5115 | 6966400 | 205960 | 1095.8238 | 979.49 | 1041.0326 | 0.24602 | 0.91037 | 0.95518 | 1046.7144 | 0.29843 | 7757300 | 230040 | 1092.5025 | 976.5213 | 1037.8773 | 0.54836 | 0.90866 | 0.95433 | 1042.6079 | 0.095068
16 | 1709.7 | 667.3 | 2.5621 | 11269000 | 453710 | 804.6782 | 719.2527 | 764.4443 | 14.5578 | 0.85586 | 0.92793 | 746.685 | 11.8965 | 10199000 | 414490 | 797.1843 | 712.5544 | 757.3251 | 13.4909 | 0.85597 | 0.92799 | 739.7751 | 10.8609
17 | 1831.4 | 698.5 | 2.6219 | 6809400 | 285650 | 772.3067 | 690.3179 | 733.6914 | 5.0381 | 0.8786 | 0.9393 | 725.4277 | 3.8551 | 6897000 | 287110 | 778.2643 | 695.643 | 739.3511 | 5.8484 | 0.87914 | 0.93957 | 731.2338 | 4.6863
18 | 1198.1 | 457.2 | 2.6205 | 4703500 | 313550 | 485.9925 | 434.399 | 461.6928 | 0.98269 | 0.85155 | 0.92578 | 449.9197 | 1.5924 | 4761500 | 305310 | 505.2635 | 451.6243 | 480.0004 | 4.987 | 0.8516 | 0.9258 | 467.773 | 2.3125
19 | 2134.8 | 795.6 | 2.6833 | 11230000 | 514970 | 706.5014 | 631.4985 | 671.1763 | 15.639 | 0.92628 | 0.96314 | 680.4597 | 14.4721 | 10120000 | 464830 | 705.3449 | 630.4648 | 670.0777 | 15.7771 | 0.92664 | 0.96332 | 679.4729 | 14.5962
20 | 3041.3 | 1183.4 | 2.57 | 9055900 | 235320 | 1246.7747 | 1114.4158 | 1184.4359 | 0.087539 | 0.93082 | 0.96541 | 1203.6487 | 1.7111 | 9633200 | 249760 | 1249.5766 | 1116.9203 | 1187.0978 | 0.31247 | 0.92995 | 0.96498 | 1205.8102 | 1.8937
21 | 2103.1 | 785.9 | 2.676 | 8191800 | 316430 | 838.7198 | 749.6804 | 796.7838 | 1.3849 | 0.89221 | 0.9461 | 793.517 | 0.9692 | 8008800 | 311620 | 832.6401 | 744.2462 | 791.0081 | 0.64997 | 0.89402 | 0.94701 | 788.5185 | 0.33318
22 | 2377.7 | 876.8 | 2.7118 | 9141300 | 315110 | 939.8552 | 840.0793 | 892.8625 | 1.8319 | 0.908 | 0.954 | 896.6219 | 2.2607 | 9251100 | 315510 | 949.9384 | 849.092 | 902.4415 | 2.9244 | 0.90688 | 0.95344 | 905.7093 | 3.2971
23 | 1745.2 | 653.8 | 2.6693 | 4301000 | 210610 | 661.6155 | 591.3777 | 628.5347 | 3.8644 | 0.85653 | 0.92827 | 614.1545 | 6.0639 | 4698500 | 228030 | 667.5479 | 596.6804 | 634.1705 | 3.0024 | 0.85563 | 0.92782 | 619.361 | 5.2675
24 | 2627.1 | 974 | 2.6972 | 8430400 | 258860 | 1055.1117 | 943.1 | 1002.3561 | 2.9113 | 0.93589 | 0.96795 | 1021.2901 | 4.8552 | 9139500 | 279310 | 1060.1105 | 947.5681 | 1007.105 | 3.3989 | 0.93554 | 0.96777 | 1025.9432 | 5.333
25 | 2498.3 | 962.8 | 2.5948 | 7654100 | 256970 | 964.9991 | 862.5538 | 916.7491 | 4.783 | 0.90471 | 0.95236 | 919.0217 | 4.547 | 7748100 | 259460 | 967.4755 | 864.7674 | 919.1018 | 4.5387 | 0.90566 | 0.95283 | 921.8397 | 4.2543
26 | 1727.4 | 639.2 | 2.7024 | 5652900 | 261280 | 700.9392 | 626.5268 | 665.8922 | 4.1759 | 0.87714 | 0.93857 | 657.8805 | 2.9225 | 5710500 | 262770 | 704.0663 | 629.3219 | 668.863 | 4.6406 | 0.87703 | 0.93851 | 660.7768 | 3.3756
27 | 2216 | 816.4 | 2.7144 | 7606100 | 296610 | 830.7903 | 742.5928 | 789.2508 | 3.3255 | 0.8 | 0.9 | 747.7113 | 8.4136 | 7462300 | 289800 | 834.2371 | 745.6737 | 792.5253 | 2.9244 | 0.8 | 0.9 | 750.8134 | 8.0336
28 | 2447 | 926.3 | 2.6417 | 6332500 | 230520 | 889.9831 | 795.5016 | 845.484 | 8.7246 | 0.89246 | 0.94623 | 842.1288 | 9.0868 | 6603300 | 240340 | 890.1233 | 795.6269 | 845.6171 | 8.7102 | 0.8925 | 0.94625 | 842.2792 | 9.0706
29 | 2116 | 808 | 2.6188 | 6591100 | 262400 | 813.7842 | 727.3921 | 773.095 | 4.3199 | 0.87349 | 0.93674 | 762.3083 | 5.6549 | 6357200 | 252270 | 816.4234 | 729.7511 | 775.6023 | 4.0096 | 0.87505 | 0.93752 | 765.4174 | 5.2701
30 | 2380 | 955.1 | 2.4919 | 8104900 | 250590 | 1047.85 | 936.6092 | 995.4575 | 4.2255 | 0.85735 | 0.92867 | 973.1121 | 1.8859 | 7992800 | 245230 | 1055.9432 | 943.8432 | 1003.146 | 5.0305 | 0.85696 | 0.92848 | 980.4221 | 2.6513
31 | 2030 | 769.3 | 2.6388 | 6625500 | 269780 | 795.6537 | 711.1863 | 755.871 | 1.7456 | 0.88364 | 0.94182 | 749.3626 | 2.5916 | 6321400 | 255710 | 800.9045 | 715.8797 | 760.8593 | 1.0972 | 0.88408 | 0.94204 | 754.4841 | 1.9259
32 | 2753.5 | 1089.6 | 2.5271 | 7793900 | 219970 | 1147.9066 | 1026.0437 | 1090.5113 | 0.083637 | 0.88533 | 0.94266 | 1082.0914 | 0.68911 | 8028200 | 221740 | 1172.9766 | 1048.4522 | 1114.3277 | 2.2694 | 0.88545 | 0.94273 | 1105.7943 | 1.4863
33 | 1534 | 558.5 | 2.7466 | 4526000 | 248340 | 590.4499 | 527.7672 | 560.9274 | 0.43463 | 0.92186 | 0.96093 | 567.381 | 1.5902 | 4500200 | 243560 | 598.606 | 535.0574 | 568.6757 | 1.822 | 0.92412 | 0.96206 | 575.8949 | 3.1146
34 | 2234.3 | 842.4 | 2.6523 | 9138300 | 325400 | 909.8359 | 813.2468 | 864.3441 | 2.6049 | 0.8305 | 0.91525 | 832.7273 | 1.1482 | 8717800 | 309860 | 911.4998 | 814.7341 | 865.9248 | 2.7926 | 0.83076 | 0.91538 | 834.3687 | 0.95338
35 | 2563.9 | 978.2 | 2.621 | 10888000 | 362870 | 972.1029 | 868.9035 | 923.4978 | 5.5921 | 0.91187 | 0.95593 | 929.2672 | 5.0023 | 10223000 | 339400 | 975.847 | 872.2501 | 927.0546 | 5.2285 | 0.9118 | 0.9559 | 932.8121 | 4.6399
36 | 2043.3 | 787.3 | 2.5953 | 6335400 | 247460 | 829.4386 | 741.3845 | 787.9666 | 0.084674 | 0.88455 | 0.94227 | 781.5592 | 0.72917 | 6328200 | 244940 | 837.0197 | 748.1609 | 795.1687 | 0.99946 | 0.88541 | 0.94271 | 789.0627 | 0.22389
37 | 2383.5 | 903.9 | 2.6369 | 7105900 | 261850 | 879.1879 | 785.8524 | 835.2285 | 7.5972 | 0.88886 | 0.94443 | 830.3314 | 8.139 | 7029200 | 258780 | 880.0156 | 786.5923 | 836.0148 | 7.5103 | 0.88882 | 0.94441 | 831.0956 | 8.0545
38 | 2281.4 | 878.6 | 2.5966 | 8002600 | 280960 | 922.7877 | 824.8237 | 876.6483 | 0.22213 | 0.89313 | 0.94656 | 873.4786 | 0.58291 | 8365800 | 286780 | 945.0914 | 844.7596 | 897.8368 | 2.1895 | 0.89256 | 0.94628 | 894.3211 | 1.7893
39 | 1885.9 | 746.8 | 2.5253 | 9831000 | 408740 | 779.2302 | 696.5063 | 740.2686 | 0.87458 | 0.91384 | 0.95692 | 745.6609 | 0.15253 | 9852000 | 408370 | 781.6022 | 698.6265 | 742.5221 | 0.57283 | 0.91381 | 0.95691 | 747.919 | 0.14984
40 | 2041.7 | 820.2 | 2.4893 | 9942900 | 384140 | 838.5689 | 749.5456 | 796.6404 | 2.8724 | 0.8 | 0.9 | 754.712 | 7.9844 | 9771400 | 383150 | 826.2342 | 738.5203 | 784.9225 | 4.3011 | 0.8 | 0.9 | 743.6108 | 9.3379
41 | 2683.7 | 1014.9 | 2.6443 | 8026700 | 232670 | 1117.6655 | 999.013 | 1061.7822 | 4.6194 | 0.92102 | 0.96051 | 1073.5289 | 5.7768 | 8762100 | 249330 | 1138.5415 | 1017.6728 | 1081.6144 | 6.5735 | 0.92099 | 0.96049 | 1093.5634 | 7.7509
42 | 2683.7 | 1014.9 | 2.6443 | 12824000 | 409420 | 1014.7747 | 907.0452 | 964.036 | 5.0117 | 0.88078 | 0.94039 | 954.284 | 5.9726 | 13266000 | 427160 | 1006.1543 | 899.34 | 955.8466 | 5.8186 | 0.87991 | 0.93995 | 945.7398 | 6.8145
43 | 2050.5 | 763.5 | 2.6857 | 7656000 | 326520 | 759.6391 | 678.9951 | 721.6572 | 5.4804 | 0.89335 | 0.94667 | 719.1314 | 5.8112 | 7837100 | 329770 | 769.9445 | 688.2065 | 731.4473 | 4.1981 | 0.8935 | 0.94675 | 728.945 | 4.5259
44 | 2050.5 | 763.5 | 2.6857 | 6223600 | 269450 | 748.3051 | 668.8642 | 710.8898 | 6.8907 | 0.88319 | 0.94159 | 704.6003 | 7.7144 | 6629400 | 279890 | 767.3651 | 685.9008 | 728.9968 | 4.5191 | 0.88318 | 0.94159 | 722.5433 | 5.3643
45 | 1542.8 | 601.8 | 2.5636 | 4904700 | 258190 | 615.4436 | 550.1075 | 584.6714 | 2.8462 | 0.90854 | 0.95427 | 587.2993 | 2.4096 | 5522900 | 288620 | 619.949 | 554.1346 | 588.9515 | 2.135 | 0.90946 | 0.95473 | 591.8839 | 1.6477
46 | 1542.8 | 601.8 | 2.5636 | 3852400 | 210240 | 593.651 | 530.6284 | 563.9685 | 6.2864 | 0.93051 | 0.96525 | 573.0246 | 4.7816 | 4433500 | 241480 | 594.8134 | 531.6674 | 565.0727 | 6.1029 | 0.93049 | 0.96525 | 574.1407 | 4.5961
47 | 2058.7 | 791.4 | 2.6013 | 7067900 | 280500 | 816.3431 | 729.6793 | 775.5259 | 2.0058 | 0.83651 | 0.91826 | 749.6111 | 5.2804 | 7680900 | 301830 | 824.4511 | 736.9265 | 783.2285 | 1.0325 | 0.83838 | 0.91919 | 757.8272 | 4.2422
48 | 2058.7 | 791.4 | 2.6013 | 6122700 | 286360 | 692.701 | 619.1632 | 658.066 | 16.8479 | 0.8299 | 0.91495 | 633.7868 | 19.9157 | 6511800 | 308290 | 684.3162 | 611.6685 | 650.1004 | 17.8544 | 0.83177 | 0.91589 | 626.7549 | 20.8043
49 | 1828.7 | 727.6 | 2.5133 | 6095400 | 266420 | 741.2259 | 662.5366 | 704.1646 | 3.2209 | 0.85945 | 0.92973 | 689.1362 | 5.2864 | 6469900 | 286040 | 732.8009 | 655.006 | 696.1609 | 4.3209 | 0.8594 | 0.9297 | 681.285 | 6.3654
50 | 1828.7 | 727.6 | 2.5133 | 6555900 | 276080 | 769.3298 | 687.657 | 730.8633 | 0.44851 | 0.86132 | 0.93066 | 715.9845 | 1.5964 | 7029000 | 289620 | 786.2854 | 702.8125 | 746.9711 | 2.6623 | 0.86186 | 0.93093 | 731.9766 | 0.60152
51 | 1855.3 | 688.1 | 2.6963 | 5101300 | 270200 | 611.6609 | 546.7264 | 581.0778 | 15.5533 | 0.93458 | 0.96729 | 591.6535 | 14.0164 | 5321700 | 285280 | 604.358 | 540.1987 | 574.1401 | 16.5615 | 0.9332 | 0.9666 | 584.1724 | 15.1036
52 | 1855.3 | 688.1 | 2.6963 | 6830900 | 297130 | 744.8119 | 665.7419 | 707.5713 | 2.8297 | 0.90447 | 0.95223 | 709.236 | 3.0716 | 6973400 | 304460 | 742.0438 | 663.2677 | 704.9416 | 2.4475 | 0.90474 | 0.95237 | 706.7002 | 2.7031
53 | 1772.4 | 644 | 2.7522 | 6052200 | 300760 | 651.9411 | 582.7304 | 619.3441 | 3.8286 | 0.83222 | 0.91611 | 597.2498 | 7.2593 | 6235000 | 311460 | 648.5588 | 579.7072 | 616.1309 | 4.3275 | 0.83545 | 0.91773 | 595.1986 | 7.5778
54 | 1772.4 | 644 | 2.7522 | 6668800 | 299220 | 722.0583 | 645.4039 | 685.9554 | 6.5148 | 0.80759 | 0.9038 | 652.5927 | 1.3343 | 6815200 | 305290 | 723.238 | 646.4583 | 687.0761 | 6.6888 | 0.80691 | 0.90346 | 653.413 | 1.4616
55 | 3127.7 | 1140.5 | 2.7424 | 10691000 | 296860 | 1166.7608 | 1042.8963 | 1108.4228 | 2.8126 | 0.89436 | 0.94718 | 1105.1325 | 3.1011 | 10939000 | 306020 | 1158.0918 | 1035.1477 | 1100.1873 | 3.5347 | 0.89396 | 0.94698 | 1096.6898 | 3.8413
56 | 3127.7 | 1140.5 | 2.7424 | 11353000 | 325360 | 1130.4768 | 1010.4643 | 1073.953 | 5.8349 | 0.8 | 0.9 | 1017.4292 | 10.791 | 11823000 | 340030 | 1126.4856 | 1006.8968 | 1070.1613 | 6.1674 | 0.8 | 0.9 | 1013.837 | 11.1059
57 | 1557.7 | 592.7 | 2.6281 | 5702900 | 325770 | 567.1525 | 506.943 | 538.7949 | 9.0948 | 0.85309 | 0.92654 | 525.4923 | 11.3392 | 5891300 | 337250 | 565.9452 | 505.8639 | 537.6479 | 9.2884 | 0.85494 | 0.92747 | 524.8972 | 11.4397
58 | 1557.7 | 592.7 | 2.6281 | 6009400 | 288830 | 674.0685 | 602.5087 | 640.365 | 8.042 | 0.84657 | 0.92329 | 622.3573 | 5.0038 | 6064500 | 287520 | 683.3483 | 610.8034 | 649.1809 | 9.5294 | 0.84546 | 0.92273 | 630.546 | 6.3854
59 | 2440.5 | 890.8 | 2.7397 | 7886900 | 270470 | 944.7185 | 844.4263 | 897.4826 | 0.75018 | 0.85881 | 0.92941 | 878.0261 | 1.434 | 8606000 | 297260 | 937.9508 | 838.377 | 891.0533 | 0.028431 | 0.85848 | 0.92924 | 871.5814 | 2.1575
60 | 2440.5 | 890.8 | 2.7397 | 6505700 | 226520 | 930.4706 | 831.6909 | 883.9471 | 0.7693 | 0.82424 | 0.91212 | 848.7009 | 4.726 | 7384800 | 254670 | 939.4553 | 839.7218 | 892.4826 | 0.18888 | 0.82472 | 0.91236 | 857.1215 | 3.7807
61 | 2463.5 | 966.1 | 2.5499 | 8941700 | 342140 | 846.7037 | 756.8168 | 804.3685 | 16.7407 | 0.93302 | 0.96651 | 818.3476 | 15.2937 | 9313100 | 352240 | 856.5856 | 765.6497 | 813.7564 | 15.7689 | 0.93339 | 0.9667 | 828.0571 | 14.2887
62 | 2463.5 | 966.1 | 2.5499 | 11111000 | 379740 | 947.9425 | 847.308 | 900.5454 | 6.7855 | 0.85779 | 0.9289 | 880.539 | 8.8563 | 11324000 | 380670 | 963.7545 | 861.4413 | 915.5667 | 5.2306 | 0.85863 | 0.92932 | 895.6315 | 7.2941
63 | 2107.5 | 800.8 | 2.6317 | 7554400 | 314180 | 778.9985 | 696.2993 | 740.0486 | 7.5863 | 0.86505 | 0.93253 | 726.4356 | 9.2863 | 7812700 | 317860 | 796.3069 | 711.7701 | 756.4915 | 5.533 | 0.86456 | 0.93228 | 742.381 | 7.2951
64 | 2107.5 | 800.8 | 2.6317 | 9813700 | 398500 | 797.8471 | 713.1468 | 757.9547 | 5.3503 | 0.90671 | 0.95335 | 760.6315 | 5.016 | 9748500 | 386030 | 818.1481 | 731.2927 | 777.2407 | 2.942 | 0.90535 | 0.95267 | 779.4293 | 2.6687
65 | 2458.2 | 911.4 | 2.6972 | 8762300 | 291770 | 972.9548 | 869.665 | 924.3071 | 1.4162 | 0.86477 | 0.93239 | 907.1685 | 0.46429 | 9233700 | 309640 | 966.1263 | 863.5614 | 917.82 | 0.70441 | 0.86367 | 0.93183 | 900.2703 | 1.2212
66 | 2458.2 | 911.4 | 2.6972 | 9404700 | 321860 | 946.6581 | 846.1599 | 899.3251 | 1.3249 | 0.87037 | 0.93518 | 885.3004 | 2.8637 | 9800400 | 328540 | 966.4308 | 863.8335 | 918.1092 | 0.73614 | 0.86933 | 0.93467 | 903.289 | 0.88995
67 | 1608 | 586 | 2.744 | 5768100 | 297540 | 628.0621 | 561.3864 | 596.659 | 1.8189 | 0.90697 | 0.95349 | 598.8478 | 2.1925 | 5859500 | 303740 | 624.991 | 558.6413 | 593.7415 | 1.3211 | 0.90829 | 0.95415 | 596.332 | 1.7631
68 | 1608 | 586 | 2.744 | 7213600 | 334540 | 698.5849 | 624.4224 | 663.6557 | 13.2518 | 0.86559 | 0.9328 | 651.6365 | 11.2008 | 7303600 | 333420 | 709.6767 | 634.3367 | 674.1928 | 15.05 | 0.86514 | 0.93257 | 661.8232 | 12.9391
69 | 2621 | 1043.6 | 2.5115 | 13296000 | 394720 | 1091.3073 | 975.453 | 1036.742 | 0.65715 | 0.8 | 0.9 | 982.1766 | 5.8857 | 12546000 | 363440 | 1118.3758 | 999.6479 | 1062.457 | 1.8069 | 0.8 | 0.9 | 1006.5382 | 3.5513
70 | 2621 | 1043.6 | 2.5115 | 16120000 | 507870 | 1028.3186 | 919.1512 | 976.9026 | 6.3911 | 0.85226 | 0.92613 | 952.3567 | 8.7431 | 15335000 | 488210 | 1017.6356 | 909.6024 | 966.7538 | 7.3636 | 0.85205 | 0.92602 | 942.356 | 9.7014
71 | 1709.7 | 667.3 | 2.5621 | 13378000 | 624820 | 693.6677 | 620.0272 | 658.9843 | 1.2462 | 0.83745 | 0.91873 | 637.2898 | 4.4973 | 11898000 | 556560 | 692.5915 | 619.0653 | 657.9619 | 1.3994 | 0.83825 | 0.91912 | 636.5782 | 4.6039
72 | 1709.7 | 667.3 | 2.5621 | 9295500 | 448010 | 672.2027 | 600.841 | 638.5925 | 4.302 | 0.83123 | 0.91562 | 615.4789 | 7.7658 | 8733300 | 420270 | 673.2327 | 601.7616 | 639.571 | 4.1554 | 0.82993 | 0.91497 | 615.9843 | 7.69
73 | 1831.4 | 698.5 | 2.6219 | 18039000 | 726260 | 804.7028 | 719.2748 | 764.4677 | 9.4442 | 0.85664 | 0.92832 | 747.0217 | 6.9466 | 15506000 | 628330 | 799.516 | 714.6386 | 759.5402 | 8.7388 | 0.85585 | 0.92792 | 741.8909 | 6.212
74 | 1831.4 | 698.5 | 2.6219 | 14624000 | 645480 | 734.0043 | 656.0816 | 697.304 | 0.17122 | 0.89468 | 0.94734 | 695.3516 | 0.45074 | 13808000 | 613630 | 729.0199 | 651.6264 | 692.5689 | 0.84912 | 0.89495 | 0.94748 | 690.7281 | 1.1127
75 | 1198.1 | 457.2 | 2.6205 | 5539400 | 375480 | 477.9595 | 427.2189 | 454.0615 | 0.68645 | 0.8 | 0.9 | 430.1636 | 5.9135 | 5707200 | 384810 | 480.4984 | 429.4882 | 456.4735 | 0.15891 | 0.8 | 0.9 | 432.4486 | 5.4137
76 | 1198.1 | 457.2 | 2.6205 | 5397800 | 372430 | 469.5559 | 419.7074 | 446.0781 | 2.4326 | 0.8 | 0.9 | 422.6003 | 7.5677 | 5360400 | 374430 | 463.8118 | 414.573 | 440.6212 | 3.6262 | 0.8 | 0.9 | 417.4306 | 8.6985
77 | 2134.8 | 795.6 | 2.6833 | 8085200 | 345060 | 759.1216 | 678.5325 | 721.1655 | 9.3558 | 0.89449 | 0.94725 | 719.0741 | 9.6186 | 8640200 | 370540 | 755.4468 | 675.2478 | 717.6745 | 9.7946 | 0.89205 | 0.94603 | 714.6716 | 10.172
78 | 2134.8 | 795.6 | 2.6833 | 7332500 | 283200 | 838.8301 | 749.7791 | 796.8886 | 0.16197 | 0.88801 | 0.944 | 791.8598 | 0.47011 | 8010800 | 308130 | 842.2812 | 752.8638 | 800.1671 | 0.57405 | 0.88885 | 0.94443 | 795.4714 | 0.016163
79 | 3041.3 | 1183.4 | 2.57 | 17984000 | 495730 | 1175.3204 | 1050.5472 | 1116.5544 | 5.6486 | 0.94121 | 0.9706 | 1140.7719 | 3.6022 | 17066000 | 473740 | 1167.0968 | 1043.1966 | 1108.742 | 6.3088 | 0.94108 | 0.97054 | 1132.7141 | 4.2831
80 | 3041.3 | 1183.4 | 2.57 | 13913000 | 368420 | 1223.4685 | 1093.5838 | 1162.295 | 1.7834 | 0.8595 | 0.92975 | 1137.5198 | 3.877 | 14669000 | 382520 | 1242.4003 | 1110.5059 | 1180.2803 | 0.26362 | 0.85881 | 0.92941 | 1154.6931 | 2.4258
81 | 2103.1 | 785.9 | 2.676 | 7741900 | 325120 | 771.47 | 689.57 | 732.8965 | 6.7443 | 0.89388 | 0.94694 | 730.5358 | 7.0447 | 8693700 | 353200 | 797.4421 | 712.7848 | 757.57 | 3.6048 | 0.89468 | 0.94734 | 755.4488 | 3.8747
82 | 2103.1 | 785.9 | 2.676 | 5262600 | 213530 | 798.4664 | 713.7004 | 758.5431 | 3.481 | 0.90087 | 0.95043 | 758.8904 | 3.4368 | 6567400 | 265920 | 800.1247 | 715.1826 | 760.1184 | 3.2805 | 0.9018 | 0.9509 | 760.8385 | 3.1889
83 | 2377.7 | 876.8 | 2.7118 | 10172000 | 354270 | 930.2232 | 831.4698 | 883.712 | 0.78833 | 0.93672 | 0.96836 | 900.7909 | 2.7362 | 10312000 | 363470 | 919.1566 | 821.5781 | 873.1988 | 0.41072 | 0.93726 | 0.96863 | 890.3227 | 1.5423
84 | 2377.7 | 876.8 | 2.7118 | 7112100 | 271070 | 850.0248 | 759.7853 | 807.5236 | 7.9011 | 0.86078 | 0.93039 | 790.8546 | 9.8022 | 7668600 | 291750 | 851.5701 | 761.1666 | 808.9916 | 7.7336 | 0.86097 | 0.93049 | 792.3732 | 9.629
85 | 1745.2 | 653.8 | 2.6693 | 6200900 | 312480 | 642.9063 | 574.6547 | 610.761 | 6.5829 | 0.86569 | 0.93284 | 599.7319 | 8.2698 | 6451500 | 316410 | 660.5804 | 590.4525 | 627.5514 | 4.0148 | 0.86568 | 0.93284 | 616.2158 | 5.7486
86 | 1745.2 | 653.8 | 2.6693 | 6004000 | 309590 | 628.3027 | 561.6015 | 596.8876 | 8.7049 | 0.86844 | 0.93422 | 586.973 | 10.2213 | 6918000 | 351190 | 638.1953 | 570.4439 | 606.2855 | 7.2674 | 0.86798 | 0.93399 | 596.068 | 8.8302
87 | 2627.1 | 974 | 2.6972 | 12270000 | 341190 | 1165.1007 | 1041.4124 | 1106.8457 | 13.6392 | 0.88431 | 0.94216 | 1097.7054 | 12.7008 | 12743000 | 353900 | 1166.5579 | 1042.715 | 1108.23 | 13.7813 | 0.88461 | 0.9423 | 1099.2534 | 12.8597
88 | 2627.1 | 974 | 2.6972 | 9052500 | 281670 | 1041.2215 | 930.6844 | 989.1604 | 1.5565 | 0.92058 | 0.96029 | 999.8746 | 2.6565 | 10051000 | 313210 | 1039.654 | 929.2833 | 987.6713 | 1.4036 | 0.92128 | 0.96064 | 998.7333 | 2.5393
89 | 2498.3 | 962.8 | 2.5948 | 10236000 | 311330 | 1065.1837 | 952.1027 | 1011.9245 | 5.1023 | 0.88494 | 0.94247 | 1003.9037 | 4.2692 | 11089000 | 338640 | 1060.8875 | 948.2626 | 1007.8431 | 4.6783 | 0.88639 | 0.9432 | 1000.6238 | 3.9285
90 | 2498.3 | 962.8 | 2.5948 | 8431300 | 283230 | 964.4295 | 862.0447 | 916.208 | 4.8392 | 0.8787 | 0.93935 | 905.9368 | 5.906 | 9377700 | 310740 | 977.7197 | 873.924 | 928.8337 | 3.5279 | 0.87726 | 0.93863 | 917.717 | 4.6825
91 | 1727.4 | 639.2 | 2.7024 | 8775800 | 407420 | 697.846 | 623.7619 | 662.9537 | 3.7162 | 0.85612 | 0.92806 | 647.6429 | 1.3209 | 8862500 | 409590 | 701.0066 | 626.587 | 665.9563 | 4.1859 | 0.85477 | 0.92739 | 650.103 | 1.7057
92 | 1727.4 | 639.2 | 2.7024 | 9820900 | 474100 | 671.1144 | 599.8682 | 637.5586 | 0.25678 | 0.85319 | 0.9266 | 621.8512 | 2.7141 | 9912400 | 478570 | 671.0402 | 599.8019 | 637.4882 | 0.2678 | 0.8534 | 0.9267 | 621.853 | 2.7139
93 | 2216 | 816.4 | 2.7144 | 9732000 | 380720 | 828.155 | 740.2372 | 786.7472 | 3.6321 | 0.82469 | 0.91234 | 755.563 | 7.4519 | 10017000 | 395310 | 820.9469 | 733.7944 | 779.8996 | 4.4709 | 0.82573 | 0.91287 | 749.4137 | 8.2051
94 | 2216 | 816.4 | 2.7144 | 11384000 | 431360 | 855.0081 | 764.2396 | 812.2577 | 0.50739 | 0.81699 | 0.9085 | 776.7705 | 4.8542 | 11108000 | 426240 | 844.3001 | 754.6684 | 802.0851 | 1.7534 | 0.81518 | 0.90759 | 766.2784 | 6.1393
95 | 2447 | 926.3 | 2.6417 | 10626000 | 330620 | 1041.2521 | 930.7117 | 989.1895 | 6.7893 | 0.9198 | 0.9599 | 999.4979 | 7.9022 | 11333000 | 351350 | 1045.0092 | 934.07 | 992.7588 | 7.1746 | 0.92067 | 0.96033 | 1003.5589 | 8.3406
96 | 2447 | 926.3 | 2.6417 | 9524300 | 302210 | 1021.0322 | 912.6384 | 969.9806 | 4.7156 | 0.8763 | 0.93815 | 957.8813 | 3.4094 | 10362000 | 327100 | 1026.3092 | 917.3552 | 974.9938 | 5.2568 | 0.87754 | 0.93877 | 963.4683 | 4.0126
97 | 2116 | 808 | 2.6188 | 10741000 | 378250 | 919.9855 | 822.3189 | 873.9862 | 8.1666 | 0.84103 | 0.92051 | 846.8604 | 4.8095 | 11460000 | 410260 | 904.9834 | 808.9095 | 859.7343 | 6.4028 | 0.8422 | 0.9211 | 833.5803 | 3.1659
98 | 2116 | 808 | 2.6188 | 9581500 | 366110 | 847.8853 | 757.873 | 805.491 | 0.31052 | 0.86026 | 0.93013 | 788.6436 | 2.3956 | 10249000 | 386430 | 859.2625 | 768.0423 | 816.2994 | 1.0271 | 0.86024 | 0.93012 | 799.2172 | 1.087
99 | 2380 | 955.1 | 2.4919 | 9662100 | 308570 | 1014.4555 | 906.7599 | 963.7328 | 0.90386 | 0.86505 | 0.93253 | 946.0052 | 0.95224 | 10791000 | 342330 | 1021.2497 | 912.8328 | 970.1872 | 1.5796 | 0.86479 | 0.93239 | 952.2081 | 0.30279
100 | 2380 | 955.1 | 2.4919 | 8191300 | 248580 | 1067.5835 | 954.2477 | 1014.2043 | 6.1883 | 0.85618 | 0.92809 | 990.8135 | 3.7392 | 9344200 | 283540 | 1067.6846 | 954.3382 | 1014.3004 | 6.1983 | 0.85667 | 0.92834 | 991.169 | 3.7765
101 | 2030 | 769.3 | 2.6388 | 6389700 | 258800 | 799.8921 | 714.9747 | 759.8975 | 1.2222 | 0.88578 | 0.94289 | 754.2102 | 1.9615 | 7216100 | 287060 | 814.4137 | 727.9547 | 773.693 | 0.57104 | 0.8841 | 0.94205 | 767.2184 | 0.27058
102 | 2030 | 769.3 | 2.6388 | 7626400 | 338700 | 729.4904 | 652.047 | 693.0159 | 9.916 | 0.85204 | 0.92602 | 675.5227 | 12.19 | 8254600 | 362300 | 738.1471 | 659.7846 | 701.2397 | 8.847 | 0.85274 | 0.92637 | 683.7973 | 11.1144
103 | 2753.5 | 1089.6 | 2.5271 | 13491000 | 359560 | 1215.5924 | 1086.5439 | 1154.8127 | 5.985 | 0.91453 | 0.95727 | 1163.644 | 6.7955 | 14031000 | 372120 | 1221.5769 | 1091.8931 | 1160.498 | 6.5068 | 0.91359 | 0.9568 | 1168.7987 | 7.2686
104 | 2753.5 | 1089.6 | 2.5271 | 9594100 | 292590 | 1062.3312 | 949.5531 | 1009.2147 | 7.3775 | 0.84951 | 0.92475 | 982.3961 | 9.8388 | 10553000 | 319570 | 1069.8555 | 956.2786 | 1016.3627 | 6.7215 | 0.84996 | 0.92498 | 989.595 | 9.1781
105 | 1534 | 558.5 | 2.7466 | 4815100 | 282580 | 552.0509 | 493.4446 | 524.4483 | 6.097 | 0.8 | 0.9 | 496.8458 | 11.0393 | 5070400 | 299060 | 549.2867 | 490.9739 | 521.8224 | 6.5672 | 0.8 | 0.9 | 494.358 | 11.4847
106 | 1534 | 558.5 | 2.7466 | 6267700 | 337730 | 601.2482 | 537.4191 | 571.1857 | 2.2714 | 0.91055 | 0.95527 | 574.3573 | 2.8393 | 6371300 | 336620 | 613.2017 | 548.1036 | 582.5416 | 4.3047 | 0.91085 | 0.95542 | 585.8682 | 4.9003
107 | 2234.3 | 842.4 | 2.6523 | 9175800 | 336390 | 883.7228 | 789.9059 | 839.5367 | 0.3399 | 0.85394 | 0.92697 | 819.1845 | 2.7559 | 9606300 | 352980 | 881.7008 | 788.0986 | 837.6158 | 0.56793 | 0.85548 | 0.92774 | 817.9891 | 2.8978
108 | 2234.3 | 842.4 | 2.6523 | 10953000 | 388710 | 912.8987 | 815.9844 | 867.2537 | 2.9503 | 0.84866 | 0.92433 | 843.8196 | 0.16852 | 11890000 | 415860 | 926.2962 | 827.9597 | 879.9814 | 4.4612 | 0.84835 | 0.92417 | 856.0598 | 1.6215
109 | 2563.9 | 978.2 | 2.621 | 13907000 | 455520 | 989.1023 | 884.0982 | 939.6472 | 3.9412 | 0.92111 | 0.96056 | 950.0871 | 2.8739 | 13838000 | 450240 | 995.7365 | 890.0282 | 945.9497 | 3.2969 | 0.92291 | 0.96145 | 957.3559 | 2.1309
110 | 2563.9 | 978.2 | 2.621 | 16856000 | 536250 | 1018.3625 | 910.2522 | 967.4444 | 1.0995 | 0.91478 | 0.95739 | 974.9701 | 0.33019 | 16239000 | 518230 | 1015.2007 | 907.426 | 964.4407 | 1.4066 | 0.91272 | 0.95636 | 970.8974 | 0.74654
111 | 2043.3 | 787.3 | 2.5953 | 12116000 | 460420 | 852.5508 | 762.0432 | 809.9233 | 2.8735 | 0.85465 | 0.92732 | 790.5917 | 0.4181 | 12825000 | 483680 | 859.0421 | 767.8453 | 816.09 | 3.6568 | 0.85455 | 0.92728 | 796.5682 | 1.1772
112 | 2043.3 | 787.3 | 2.5953 | 15462000 | 523740 | 956.4563 | 854.9179 | 908.6335 | 15.4113 | 0.82348 | 0.91174 | 872.0394 | 10.7633 | 14618000 | 490940 | 964.661 | 862.2517 | 916.428 | 16.4014 | 0.82394 | 0.91197 | 879.7419 | 11.7416
113 | 2383.5 | 903.9 | 2.6369 | 14733000 | 530990 | 898.9179 | 803.4879 | 853.972 | 5.5236 | 0.90635 | 0.95317 | 856.8261 | 5.2079 | 14662000 | 522950 | 908.3396 | 811.9094 | 862.9226 | 4.5334 | 0.90688 | 0.95344 | 866.0473 | 4.1877
114 | 2383.5 | 903.9 | 2.6369 | 13905000 | 498160 | 904.31 | 808.3076 | 859.0945 | 4.9569 | 0.9088 | 0.9544 | 863.0735 | 4.5167 | 13580000 | 485650 | 905.9236 | 809.7498 | 860.6274 | 4.7873 | 0.90919 | 0.9546 | 864.7901 | 4.3268
115 | 2281.4 | 878.6 | 2.5966 | 9024900 | 289070 | 1011.4736 | 904.0946 | 960.9 | 9.3672 | 0.86412 | 0.93206 | 942.7541 | 7.3019 | 10169000 | 325380 | 1012.5176 | 905.0277 | 961.8917 | 9.4801 | 0.86321 | 0.93161 | 943.2665 | 7.3602
116 | 2281.4 | 878.6 | 2.5966 | 7378500 | 246520 | 969.686 | 866.7432 | 921.2017 | 4.8488 | 0.84545 | 0.92273 | 894.7535 | 1.8385 | 8345300 | 276380 | 978.2515 | 874.3994 | 929.339 | 5.775 | 0.84595 | 0.92297 | 902.9017 | 2.766
117 | 1885.9 | 746.8 | 2.5253 | 7510700 | 343210 | 708.9828 | 633.7164 | 673.5336 | 9.8107 | 0.8986 | 0.9493 | 673.0373 | 9.8772 | 8192800 | 373760 | 710.1576 | 634.7665 | 674.6497 | 9.6613 | 0.89722 | 0.94861 | 673.6626 | 9.7934
118 | 1885.9 | 746.8 | 2.5253 | 6664100 | 270300 | 798.7496 | 713.9535 | 758.8121 | 1.6085 | 0.89452 | 0.94726 | 756.6235 | 1.3154 | 7440600 | 306300 | 787.0026 | 703.4536 | 747.6524 | 0.11415 | 0.89532 | 0.94766 | 745.8109 | 0.13245
119 | 2041.7 | 820.2 | 2.4893 | 8439700 | 323990 | 843.9381 | 754.3448 | 801.7412 | 2.2505 | 0.8 | 0.9 | 759.5443 | 7.3952 | 9581300 | 370150 | 838.6136 | 749.5855 | 796.6829 | 2.8672 | 0.8 | 0.9 | 754.7522 | 7.9795
120 | 2041.7 | 820.2 | 2.4893 | 6497100 | 236570 | 889.7645 | 795.3062 | 845.2763 | 3.0573 | 0.81837 | 0.90919 | 808.9605 | 1.3703 | 7415700 | 270830 | 887.0959 | 792.9209 | 842.7411 | 2.7482 | 0.81819 | 0.90909 | 806.4545 | 1.6759
Note1: Total 40 particles, 1~40 is 1st repetition, 41~120 is 2nd & 3rd repetiton interleaved. E.g., Particle No.1 is : 1 & 41 & 42 | [7 empty] | Average Error (%) | 4.7222 |  |  | Average Error (%) | 5.3048 |  |  |  |  | Average Error (%) | 4.7579 |  |  | Average Error (%) | 5.1235
Note2: Measured weight and volume are dry weight and saturated volume, thus the density is more representative.

## Jun_30_average
ID | Measured Volume, Saturated (cm3) | Based on minimum ball dimension |  |  |  | Based on equivalent diameter
|  | Average Recon'd Volume (cm3) | Average Recon'd Real ball Volume (cm3) | Average Force Correction 0.95 Volume (cm3) | Average Dynamic Correction Volume (cm3) | Average Recon'd Volume (cm3) | Average Recon'd Real ball Volume (cm3) | Average Force Correction 0.95 Volume (cm3) | Average Dynamic Correction Volume (cm3)
1 | 1014.9 | 1071.3678 | 957.6304 | 1017.7994 | 1020.4888 | 1074.577 | 960.4988 | 1020.8481 | 1023.4566
2 | 763.5 | 793.0924 | 708.8969 | 753.4378 | 740.1741 | 800.1812 | 715.2331 | 760.1721 | 746.8194
3 | 601.8 | 613.6357 | 548.4916 | 582.954 | 582.2217 | 618.2006 | 552.5718 | 587.2906 | 586.5687
4 | 791.4 | 768.0051 | 686.4729 | 729.6048 | 716.643 | 767.5221 | 686.0412 | 729.146 | 716.3686
5 | 727.6 | 742.2312 | 663.4352 | 705.1196 | 691.7907 | 746.2308 | 667.0102 | 708.9193 | 695.5048
6 | 688.1 | 666.0198 | 595.3145 | 632.7188 | 640.6613 | 669.4039 | 598.3393 | 635.9337 | 643.9981
7 | 644 | 679.8228 | 607.6521 | 645.8316 | 624.5809 | 686.7057 | 613.8044 | 652.3705 | 631.2558
8 | 1140.5 | 1176.7564 | 1051.8308 | 1117.9186 | 1100.9583 | 1171.9873 | 1047.5679 | 1113.3879 | 1096.6592
9 | 592.7 | 616.4476 | 551.0049 | 585.6252 | 566.766 | 618.6025 | 552.931 | 587.6723 | 568.9295
10 | 890.8 | 946.2361 | 845.7827 | 898.9243 | 869.7011 | 950.4293 | 849.5308 | 902.9078 | 872.9761
11 | 966.1 | 964.5008 | 862.1084 | 916.2757 | 920.1016 | 971.4949 | 868.3601 | 922.9202 | 926.81
12 | 800.8 | 805.5048 | 719.9916 | 765.2295 | 757.2878 | 820.6006 | 733.4848 | 779.5705 | 771.3429
13 | 911.4 | 948.7451 | 848.0254 | 901.3079 | 890.5386 | 952.9755 | 851.8067 | 905.3267 | 894.0798
14 | 586 | 621.7566 | 555.7503 | 590.6688 | 585.4619 | 624.465 | 558.1712 | 593.2418 | 588.11
15 | 1043.6 | 1071.8165 | 958.0314 | 1018.2257 | 993.7492 | 1076.1713 | 961.9239 | 1022.3627 | 997.1674
16 | 667.3 | 723.5162 | 646.707 | 687.3404 | 666.4846 | 721.0028 | 644.4604 | 684.9527 | 664.1125
17 | 698.5 | 770.3379 | 688.5581 | 731.821 | 722.6003 | 768.9334 | 687.3027 | 730.4867 | 721.2843
18 | 457.2 | 477.836 | 427.1084 | 453.9442 | 434.2279 | 483.1912 | 431.8952 | 459.0317 | 439.2174
19 | 795.6 | 768.151 | 686.6034 | 729.7435 | 730.4646 | 767.691 | 686.1921 | 729.3064 | 729.872
20 | 1183.4 | 1215.1879 | 1086.1823 | 1154.4285 | 1160.6468 | 1219.6912 | 1090.2076 | 1158.7067 | 1164.4058
21 | 785.9 | 802.8854 | 717.6503 | 762.7411 | 760.9811 | 810.0689 | 724.0712 | 769.5655 | 768.2686
22 | 876.8 | 906.7011 | 810.4448 | 861.366 | 862.7558 | 906.8884 | 810.6122 | 861.544 | 862.8017
23 | 653.8 | 644.2748 | 575.878 | 612.0611 | 600.2865 | 655.4412 | 585.8589 | 622.6692 | 610.5483
24 | 974 | 1087.1446 | 971.7323 | 1032.7874 | 1039.6234 | 1088.7742 | 973.1888 | 1034.3355 | 1041.3099
25 | 962.8 | 998.2041 | 892.2337 | 948.2939 | 942.9541 | 1002.0276 | 895.6513 | 951.9262 | 946.7268
26 | 639.2 | 689.9665 | 616.719 | 655.4682 | 642.4582 | 692.0377 | 618.5703 | 657.4358 | 644.2442
27 | 816.4 | 837.9844 | 749.0232 | 796.0852 | 760.015 | 833.1614 | 744.7121 | 791.5033 | 755.5018
28 | 926.3 | 984.0891 | 879.6173 | 934.8847 | 933.1693 | 987.1473 | 882.3507 | 937.7899 | 936.4355
29 | 808 | 860.5517 | 769.1946 | 817.5241 | 799.2708 | 860.2231 | 768.901 | 817.212 | 799.405
30 | 955.1 | 1043.2963 | 932.539 | 991.1315 | 969.9769 | 1048.2925 | 937.0047 | 995.8779 | 974.5997
31 | 769.3 | 775.0121 | 692.736 | 736.2615 | 726.3652 | 784.4884 | 701.2064 | 745.264 | 735.1666
32 | 1089.6 | 1141.9434 | 1020.7136 | 1084.8462 | 1076.0439 | 1154.803 | 1032.208 | 1097.0628 | 1088.0626
33 | 558.5 | 581.2496 | 519.5436 | 552.1872 | 546.1947 | 587.0314 | 524.7116 | 557.6799 | 552.0404
34 | 842.4 | 902.1524 | 806.379 | 857.0448 | 831.9105 | 906.4989 | 810.2641 | 861.174 | 836.1392
35 | 978.2 | 993.1892 | 887.7513 | 943.5298 | 951.4415 | 995.5947 | 889.9014 | 945.815 | 953.6885
36 | 787.3 | 879.4819 | 786.1152 | 835.5078 | 814.7301 | 886.9076 | 792.7526 | 842.5622 | 821.7909
37 | 903.9 | 894.1386 | 799.216 | 849.4317 | 850.077 | 898.0929 | 802.7505 | 853.1883 | 853.9777
38 | 878.6 | 967.9824 | 865.2205 | 919.5833 | 903.6621 | 978.6202 | 874.7289 | 929.6892 | 913.4964
39 | 746.8 | 762.3208 | 681.3921 | 724.2048 | 725.1073 | 759.5874 | 678.9489 | 721.6081 | 722.4642
40 | 820.2 | 857.4238 | 766.3989 | 814.5526 | 774.4056 | 850.6479 | 760.3423 | 808.1155 | 768.2725

## Jul_12
ID | Measured Weight, Dry (g) | Measured Volume, Assumed (cm3) | Density (g/cm3) | Based on minimum ball dimension | [9 empty] | Based on equivalent ball dimension
|  |  |  | Rock Voxel | Ball Voxel | Recon'd Volume w/ Recon'd ball (cm3) | Recon'd Volume w/ Real ball (cm3) | Force Correction 0.9 Volume (cm3) | Force Correction 0.9 Error (%) | Correction (minimum) | Increased Correction (minimum) | Corrected Volume w/ Recon'd ball (cm3) | Corrected Volume Error (%) | Rock Voxel | Ball Voxel | Recon'd Volume w/ Recon'd ball (cm3) | Recon'd Volume w/ Real ball (cm3) | Force Correction 0.9 Volume (cm3) | Force Correction 0.9 Error (%) | Correction (minimum) | Increased Correction (minimum) | Corrected Volume w/ Recon'd ball (cm3) | Corrected Volume Error (%)
1 | 4036.9688 | 1517.6574 | 2.66 | 7452400 | 136750 | 1765.5662 | 1578.132 | 1589.0096 | 4.7015 | 0.85426 | 0.85426 | 1508.2526 | 0.61969 | 7819100 | 143940 | 1759.91 | 1573.0762 | 1583.919 | 4.366 | 0.85918 | 0.85918 | 1512.0795 | 0.36754
2 | 4036.9688 | 1517.6574 | 2.66 | 7482800 | 136750 | 1772.7684 | 1584.5695 | 1595.4915 | 5.1286 | 0.88515 | 0.88515 | 1569.1659 | 3.3939 | 7828200 | 143940 | 1761.9582 | 1574.907 | 1585.7624 | 4.4875 | 0.8848 | 0.8848 | 1558.9806 | 2.7228
3 | 4036.9688 | 1517.6574 | 2.66 | 7558800 | 136750 | 1790.7737 | 1600.6634 | 1611.6964 | 6.1963 | 0.88242 | 0.88242 | 1580.2145 | 4.122 | 7881200 | 143940 | 1773.8874 | 1585.5697 | 1596.4986 | 5.1949 | 0.88341 | 0.88341 | 1567.0699 | 3.2558
4 | 3855.532 | 1449.4481 | 2.66 | 6993300 | 136750 | 1656.7997 | 1480.9122 | 1491.1198 | 2.875 | 0.87872 | 0.87872 | 1455.8631 | 0.44258 | 7328500 | 143940 | 1649.4866 | 1474.3754 | 1484.5379 | 2.4209 | 0.87971 | 0.87971 | 1451.0698 | 0.11189
5 | 3855.532 | 1449.4481 | 2.66 | 6942200 | 136750 | 1644.6935 | 1470.0912 | 1480.2242 | 2.1233 | 0.94182 | 0.94182 | 1549.0052 | 6.8686 | 7257000 | 143940 | 1633.3935 | 1459.9908 | 1470.0541 | 1.4216 | 0.93983 | 0.93983 | 1535.1122 | 5.9101
6 | 3855.532 | 1449.4481 | 2.66 | 7026000 | 136750 | 1664.5468 | 1487.8368 | 1498.0921 | 3.356 | 0.88819 | 0.88819 | 1478.4338 | 1.9998 | 7379800 | 143940 | 1661.0331 | 1484.6962 | 1494.9298 | 3.1379 | 0.89047 | 0.89047 | 1479.1001 | 2.0457
7 | 9207.9176 | 3461.6232 | 2.66 | 15423000 | 136750 | 3653.9005 | 3265.9988 | 3288.5105 | 5.0009 | 0.91897 | 0.91897 | 3357.8249 | 2.9985 | 16252000 | 143940 | 3657.9731 | 3269.639 | 3292.1758 | 4.895 | 0.92098 | 0.92098 | 3368.9201 | 2.678
8 | 9207.9176 | 3461.6232 | 2.66 | 16342000 | 136750 | 3871.623 | 3460.6077 | 3484.4607 | 0.65974 | 0.89776 | 0.89776 | 3475.7883 | 0.40921 | 17173000 | 143940 | 3865.2703 | 3454.9293 | 3478.7432 | 0.49457 | 0.89705 | 0.89705 | 3467.3407 | 0.16517
9 | 9207.9176 | 3461.6232 | 2.66 | 15162000 | 136750 | 3592.0664 | 3210.729 | 3232.8597 | 6.6086 | 0.91979 | 0.91979 | 3303.9467 | 4.555 | 15949000 | 143940 | 3589.7744 | 3208.6804 | 3230.7969 | 6.6681 | 0.91842 | 0.91842 | 3296.9206 | 4.758
10 | 3061.746 | 1151.0323 | 2.66 | 6234800 | 136750 | 1477.1017 | 1320.2911 | 1329.3915 | 15.4956 | 0.89121 | 0.89121 | 1316.4078 | 14.3676 | 6549000 | 143940 | 1474.038 | 1317.5527 | 1326.6342 | 15.256 | 0.88915 | 0.88915 | 1310.6409 | 13.8666
11 | 3061.746 | 1151.0323 | 2.66 | 6137400 | 136750 | 1454.0264 | 1299.6655 | 1308.6237 | 13.6913 | 0.89051 | 0.89051 | 1294.825 | 12.4925 | 6442500 | 143940 | 1450.0672 | 1296.1266 | 1305.0605 | 13.3817 | 0.89061 | 0.89061 | 1291.4443 | 12.1988
12 | 3061.746 | 1151.0323 | 2.66 | 5794700 | 136750 | 1372.8365 | 1227.0948 | 1235.5528 | 7.343 | 0.89498 | 0.89498 | 1228.6612 | 6.7443 | 6093600 | 143940 | 1371.5373 | 1225.9336 | 1234.3836 | 7.2414 | 0.89513 | 0.89513 | 1227.7042 | 6.6611
13 | 5511.1428 | 2071.8582 | 2.66 | 9227000 | 136750 | 2185.991 | 1953.9241 | 1967.3919 | 5.0422 | 0.9018 | 0.9018 | 1971.3267 | 4.8522 | 9704700 | 143940 | 2184.3177 | 1952.4284 | 1965.886 | 5.1148 | 0.90242 | 0.90242 | 1971.172 | 4.8597
14 | 5511.1428 | 2071.8582 | 2.66 | 9851800 | 136750 | 2334.0139 | 2086.2327 | 2100.6125 | 1.3879 | 0.87347 | 0.87347 | 2038.6912 | 1.6008 | 10443000 | 143940 | 2350.4931 | 2100.9624 | 2115.4438 | 2.1037 | 0.87353 | 0.87353 | 2053.2262 | 0.89929
15 | 5511.1428 | 2071.8582 | 2.66 | 10555000 | 136750 | 2500.6108 | 2235.1434 | 2250.5497 | 8.6247 | 0.87608 | 0.87608 | 2190.7351 | 5.7377 | 11029000 | 143940 | 2482.389 | 2218.8561 | 2234.1501 | 7.8332 | 0.87682 | 0.87682 | 2176.6083 | 5.0559
16 | 5624.5408 | 2114.489 | 2.66 | 10120000 | 136750 | 2397.5539 | 2143.0272 | 2157.7985 | 2.0482 | 0.92443 | 0.92443 | 2216.3707 | 4.8183 | 10648000 | 143940 | 2396.6341 | 2142.2051 | 2156.9707 | 2.0091 | 0.92582 | 0.92582 | 2218.8518 | 4.9356
17 | 5624.5408 | 2114.489 | 2.66 | 10745000 | 136750 | 2545.6241 | 2275.3781 | 2291.0617 | 8.3506 | 0.90932 | 0.90932 | 2314.7869 | 9.4726 | 11257000 | 143940 | 2533.7068 | 2264.726 | 2280.3361 | 7.8434 | 0.91026 | 0.91026 | 2306.332 | 9.0728
18 | 5624.5408 | 2114.489 | 2.66 | 10818000 | 136750 | 2562.9187 | 2290.8367 | 2306.6269 | 9.0867 | 0.90385 | 0.90385 | 2316.4941 | 9.5534 | 11399000 | 143940 | 2565.6679 | 2293.2941 | 2309.1012 | 9.2037 | 0.90134 | 0.90134 | 2312.5391 | 9.3663
19 | 3855.532 | 1449.4481 | 2.66 | 6584200 | 136750 | 1559.8789 | 1394.2806 | 1403.891 | 3.1431 | 0.88178 | 0.88178 | 1375.47 | 5.1039 | 6936500 | 143940 | 1561.2559 | 1395.5114 | 1405.1303 | 3.0576 | 0.8818 | 0.8818 | 1376.7154 | 5.018
20 | 3855.532 | 1449.4481 | 2.66 | 7164300 | 136750 | 1697.3118 | 1517.1235 | 1527.5806 | 5.3905 | 0.87249 | 0.87249 | 1480.8875 | 2.1691 | 7535900 | 143940 | 1696.1678 | 1516.101 | 1526.551 | 5.3195 | 0.87254 | 0.87254 | 1479.9743 | 2.1061
21 | 3855.532 | 1449.4481 | 2.66 | 6709900 | 136750 | 1589.6588 | 1420.899 | 1430.6929 | 1.294 | 0.88438 | 0.88438 | 1405.8624 | 3.0071 | 7050200 | 143940 | 1586.8473 | 1418.386 | 1428.1626 | 1.4685 | 0.88107 | 0.88107 | 1398.1235 | 3.541
22 | 3039.0664 | 1142.5062 | 2.66 | 5456400 | 136750 | 1292.689 | 1155.4559 | 1163.4201 | 1.8305 | 0.92237 | 0.92237 | 1192.3376 | 4.3616 | 5728600 | 143940 | 1289.3838 | 1152.5015 | 1160.4454 | 1.5702 | 0.92487 | 0.92487 | 1192.5124 | 4.3769
23 | 3039.0664 | 1142.5062 | 2.66 | 5341700 | 136750 | 1265.5152 | 1131.1668 | 1138.9636 | 0.31007 | 0.93944 | 0.93944 | 1188.8756 | 4.0586 | 5607400 | 143940 | 1262.1043 | 1128.118 | 1135.8938 | 0.57876 | 0.93895 | 0.93895 | 1185.0528 | 3.724
24 | 3039.0664 | 1142.5062 | 2.66 | 5208700 | 136750 | 1234.0058 | 1103.0025 | 1110.6052 | 2.7922 | 0.91007 | 0.91007 | 1123.0317 | 1.7045 | 5433400 | 143940 | 1222.9406 | 1093.112 | 1100.6466 | 3.6638 | 0.90927 | 0.90927 | 1111.9832 | 2.6716
25 | 3742.134 | 1406.8173 | 2.66 | 7028300 | 136750 | 1665.0917 | 1488.3239 | 1498.5825 | 6.5229 | 0.9364 | 0.9364 | 1559.1918 | 10.8312 | 7398700 | 143940 | 1665.2871 | 1488.4985 | 1498.7584 | 6.5354 | 0.93436 | 0.93436 | 1555.9776 | 10.6027
26 | 3742.134 | 1406.8173 | 2.66 | 6826600 | 136750 | 1617.3064 | 1445.6116 | 1455.5758 | 3.4659 | 0.89597 | 0.89597 | 1449.058 | 3.0026 | 7211900 | 143940 | 1623.2424 | 1450.9174 | 1460.9182 | 3.8456 | 0.8942 | 0.8942 | 1451.5034 | 3.1764
27 | 3742.134 | 1406.8173 | 2.66 | 7260800 | 136750 | 1720.1738 | 1537.5585 | 1548.1564 | 10.0467 | 0.88978 | 0.88978 | 1530.5763 | 8.7971 | 7648600 | 143940 | 1721.5342 | 1538.7744 | 1549.3807 | 10.1338 | 0.88975 | 0.88975 | 1531.735 | 8.8795
28 | 2358.6784 | 886.7212 | 2.66 | 4326800 | 136750 | 1025.0727 | 916.25 | 922.5655 | 4.0423 | 0.89832 | 0.89832 | 920.8433 | 3.8481 | 4582400 | 143940 | 1031.399 | 921.9046 | 928.2591 | 4.6844 | 0.89996 | 0.89996 | 928.2178 | 4.6798
29 | 2358.6784 | 886.7212 | 2.66 | 4115900 | 136750 | 975.1079 | 871.5895 | 877.5971 | 1.029 | 0.94375 | 0.94375 | 920.2581 | 3.7821 | 4314100 | 143940 | 971.0104 | 867.927 | 873.9094 | 1.4449 | 0.94198 | 0.94198 | 914.6724 | 3.1522
30 | 2358.6784 | 886.7212 | 2.66 | 4150300 | 136750 | 983.2577 | 878.8741 | 884.9319 | 0.20179 | 0.93907 | 0.93907 | 923.3478 | 4.1306 | 4364500 | 143940 | 982.3544 | 878.0667 | 884.119 | 0.29347 | 0.9391 | 0.9391 | 922.529 | 4.0382
31 | 3696.7748 | 1389.765 | 2.66 | 6703200 | 166990 | 1300.4897 | 1162.4284 | 1170.4407 | 15.7814 | 0.86052 | 0.86052 | 1119.0974 | 19.4758 | 6956900 | 168920 | 1334.2889 | 1192.6395 | 1200.86 | 13.5926 | 0.86279 | 0.86279 | 1151.2111 | 17.165
32 | 3696.7748 | 1389.765 | 2.66 | 6907900 | 166990 | 1340.2036 | 1197.9262 | 1206.1832 | 13.2096 | 0.87761 | 0.87761 | 1176.1761 | 15.3687 | 7169600 | 168920 | 1375.0834 | 1229.1032 | 1237.5751 | 10.9508 | 0.87825 | 0.87825 | 1207.667 | 13.1028
33 | 3696.7748 | 1389.765 | 2.66 | 6649800 | 166990 | 1290.1295 | 1153.1681 | 1161.1166 | 16.4523 | 0.90046 | 0.90046 | 1161.71 | 16.4096 | 6875300 | 168920 | 1318.6386 | 1178.6506 | 1186.7747 | 14.6061 | 0.90009 | 0.90009 | 1186.8934 | 14.5975
34 | 3810.1728 | 1432.3958 | 2.66 | 7202800 | 166990 | 1397.4172 | 1249.066 | 1257.6755 | 12.1978 | 0.89469 | 0.89469 | 1250.2552 | 12.7158 | 7478700 | 168920 | 1434.3668 | 1282.093 | 1290.9301 | 9.8762 | 0.89612 | 0.89612 | 1285.3648 | 10.2647
35 | 3810.1728 | 1432.3958 | 2.66 | 7814500 | 166990 | 1516.0933 | 1355.1433 | 1364.484 | 4.7411 | 0.9147 | 0.9147 | 1386.7705 | 3.1852 | 8075500 | 168920 | 1548.8293 | 1384.404 | 1393.9463 | 2.6843 | 0.91783 | 0.91783 | 1421.562 | 0.75634
36 | 3810.1728 | 1432.3958 | 2.66 | 7130000 | 166990 | 1383.2933 | 1236.4415 | 1244.9639 | 13.0852 | 0.90017 | 0.90017 | 1245.1991 | 13.0688 | 7418700 | 168920 | 1422.8592 | 1271.8071 | 1280.5733 | 10.5992 | 0.89929 | 0.89929 | 1279.5631 | 10.6697
37 | 3628.736 | 1364.1865 | 2.66 | 7034900 | 166990 | 1364.8429 | 1219.9498 | 1228.3586 | 9.9567 | 0.88137 | 0.88137 | 1202.9316 | 11.8206 | 7269600 | 168920 | 1394.2628 | 1246.2465 | 1254.8365 | 8.0158 | 0.88247 | 0.88247 | 1230.3951 | 9.8074
38 | 3628.736 | 1364.1865 | 2.66 | 7168600 | 166990 | 1390.782 | 1243.1352 | 1251.7038 | 8.2454 | 0.83993 | 0.83993 | 1168.1596 | 14.3695 | 7410600 | 168920 | 1421.3057 | 1270.4185 | 1279.1751 | 6.2317 | 0.83846 | 0.83846 | 1191.708 | 12.6433
39 | 3628.736 | 1364.1865 | 2.66 | 6878400 | 166990 | 1334.4803 | 1192.8105 | 1201.0322 | 11.9598 | 0.83891 | 0.83891 | 1119.5088 | 17.9358 | 7147800 | 168920 | 1370.9023 | 1225.366 | 1233.8121 | 9.5569 | 0.83993 | 0.83993 | 1151.462 | 15.5935
40 | 4467.8812 | 1679.6546 | 2.66 | 9018700 | 166990 | 1749.7205 | 1563.9684 | 1574.7484 | 6.2457 | 0.91704 | 0.91704 | 1604.5636 | 4.4706 | 9335300 | 168920 | 1790.4508 | 1600.3748 | 1611.4058 | 4.0633 | 0.91576 | 0.91576 | 1639.6233 | 2.3833
41 | 4467.8812 | 1679.6546 | 2.66 | 8917700 | 166990 | 1730.1254 | 1546.4536 | 1557.1129 | 7.2956 | 0.913 | 0.913 | 1579.6045 | 5.9566 | 9213900 | 168920 | 1767.1671 | 1579.5629 | 1590.4504 | 5.3109 | 0.91404 | 0.91404 | 1615.2614 | 3.8337
42 | 4467.8812 | 1679.6546 | 2.66 | 8210300 | 166990 | 1592.8826 | 1423.7806 | 1433.5943 | 14.6495 | 0.9267 | 0.9267 | 1476.1243 | 12.1174 | 8482200 | 168920 | 1626.8317 | 1454.1256 | 1464.1485 | 12.8304 | 0.92705 | 0.92705 | 1508.1543 | 10.2104
43 | 3855.532 | 1449.4481 | 2.66 | 7331000 | 166990 | 1422.2893 | 1271.2977 | 1280.0604 | 11.6864 | 0.90138 | 0.90138 | 1282.0231 | 11.5509 | 7590300 | 168920 | 1455.771 | 1301.2249 | 1310.1939 | 9.6074 | 0.90348 | 0.90348 | 1315.26 | 9.2579
44 | 3855.532 | 1449.4481 | 2.66 | 7942300 | 166990 | 1540.8878 | 1377.3056 | 1386.799 | 4.3223 | 0.90653 | 0.90653 | 1396.861 | 3.6281 | 8265500 | 168920 | 1585.27 | 1416.9762 | 1426.743 | 1.5665 | 0.90412 | 0.90412 | 1433.2743 | 1.1159
45 | 3855.532 | 1449.4481 | 2.66 | 7376300 | 166990 | 1431.078 | 1279.1533 | 1287.9702 | 11.1406 | 0.87915 | 0.87915 | 1258.1322 | 13.1992 | 7640600 | 168920 | 1465.4182 | 1309.848 | 1318.8764 | 9.0084 | 0.8817 | 0.8817 | 1292.0592 | 10.8585
46 | 4127.6872 | 1551.7621 | 2.66 | 9175700 | 166990 | 1780.1801 | 1591.1944 | 1602.1621 | 3.2479 | 0.87642 | 0.87642 | 1560.1854 | 0.54282 | 9456100 | 168920 | 1813.6195 | 1621.0839 | 1632.2576 | 5.1874 | 0.87388 | 0.87388 | 1584.8858 | 2.1346
47 | 4127.6872 | 1551.7621 | 2.66 | 8360900 | 166990 | 1622.1005 | 1449.8967 | 1459.8904 | 5.9205 | 0.87468 | 0.87468 | 1418.8189 | 8.5672 | 8655400 | 168920 | 1660.0504 | 1483.8178 | 1494.0453 | 3.7194 | 0.87333 | 0.87333 | 1449.7718 | 6.5725
48 | 4127.6872 | 1551.7621 | 2.66 | 7644700 | 166990 | 1483.1503 | 1325.6976 | 1334.8353 | 13.9794 | 0.83745 | 0.83745 | 1242.0643 | 19.9578 | 7901900 | 168920 | 1515.5339 | 1354.6433 | 1363.9805 | 12.1012 | 0.83614 | 0.83614 | 1267.1985 | 18.3381
49 | 6191.5308 | 2327.6432 | 2.66 | 12264000 | 166990 | 2379.342 | 2126.7487 | 2141.4078 | 8.001 | 0.91147 | 0.91147 | 2168.6989 | 6.8286 | 12688000 | 168920 | 2433.4773 | 2175.1369 | 2190.1295 | 5.9078 | 0.9117 | 0.9117 | 2218.6012 | 4.6847
50 | 6191.5308 | 2327.6432 | 2.66 | 11954000 | 166990 | 2319.1988 | 2072.9904 | 2087.2789 | 10.3265 | 0.86284 | 0.86284 | 2001.0975 | 14.029 | 12399000 | 168920 | 2378.0489 | 2125.5929 | 2140.244 | 8.051 | 0.8636 | 0.8636 | 2053.683 | 11.7699
51 | 6191.5308 | 2327.6432 | 2.66 | 12907000 | 166990 | 2504.0906 | 2238.2539 | 2253.6815 | 3.1775 | 0.90112 | 0.90112 | 2256.4861 | 3.057 | 13384000 | 168920 | 2566.9656 | 2294.454 | 2310.269 | 0.74643 | 0.90105 | 0.90105 | 2312.9644 | 0.63063
52 | 3356.5808 | 1261.8725 | 2.66 | 6139400 | 166990 | 1191.1067 | 1064.6576 | 1071.996 | 15.0472 | 0.89537 | 0.89537 | 1066.4812 | 15.4842 | 6344500 | 168920 | 1216.8345 | 1087.6542 | 1095.1511 | 13.2122 | 0.8952 | 0.8952 | 1089.3103 | 13.6751
53 | 3356.5808 | 1261.8725 | 2.66 | 6217800 | 166990 | 1206.3171 | 1078.2533 | 1085.6854 | 13.9624 | 0.90576 | 0.90576 | 1092.6338 | 13.4117 | 6423500 | 168920 | 1231.9862 | 1101.1973 | 1108.7876 | 12.1316 | 0.90651 | 0.90651 | 1116.8078 | 11.496
54 | 3356.5808 | 1261.8725 | 2.66 | 6090600 | 166990 | 1181.639 | 1056.195 | 1063.4751 | 15.7225 | 0.90611 | 0.90611 | 1070.6949 | 15.1503 | 6295200 | 168920 | 1207.3791 | 1079.2025 | 1086.6412 | 13.8866 | 0.90635 | 0.90635 | 1094.308 | 13.279
55 | 4241.0852 | 1594.3929 | 2.66 | 8135300 | 166990 | 1578.3318 | 1410.7745 | 1420.4986 | 10.9066 | 0.90511 | 0.90511 | 1428.5639 | 10.4008 | 8511900 | 168920 | 1632.528 | 1459.2172 | 1469.2752 | 7.8474 | 0.90443 | 0.90443 | 1476.5073 | 7.3938
56 | 4241.0852 | 1594.3929 | 2.66 | 7890400 | 166990 | 1530.8187 | 1368.3054 | 1377.7368 | 13.5886 | 0.91813 | 0.91813 | 1405.4905 | 11.8479 | 8189500 | 168920 | 1570.6937 | 1403.9473 | 1413.6244 | 11.3378 | 0.91329 | 0.91329 | 1434.4989 | 10.0285
57 | 4241.0852 | 1594.3929 | 2.66 | 8701900 | 166990 | 1688.258 | 1509.0309 | 1519.4322 | 4.7015 | 0.89109 | 0.89109 | 1504.3898 | 5.645 | 9024500 | 168920 | 1730.8414 | 1547.0935 | 1557.7572 | 2.2978 | 0.8872 | 0.8872 | 1535.6025 | 3.6873
58 | 3878.2116 | 1457.9743 | 2.66 | 8027200 | 166990 | 1557.3593 | 1392.0285 | 1401.6233 | 3.865 | 0.93452 | 0.93452 | 1455.3834 | 0.17771 | 8384400 | 168920 | 1608.0743 | 1437.3595 | 1447.2669 | 0.7344 | 0.93688 | 0.93688 | 1506.5726 | 3.3333
59 | 3878.2116 | 1457.9743 | 2.66 | 7635600 | 166990 | 1481.3848 | 1324.1196 | 1333.2464 | 8.5549 | 0.91842 | 0.91842 | 1360.5335 | 6.6833 | 7934000 | 168920 | 1521.6905 | 1360.1463 | 1369.5214 | 6.0668 | 0.9163 | 0.9163 | 1394.325 | 4.3656
60 | 3878.2116 | 1457.9743 | 2.66 | 7783000 | 166990 | 1509.982 | 1349.6808 | 1358.9838 | 6.7896 | 0.90976 | 0.90976 | 1373.7212 | 5.7788 | 8071100 | 168920 | 1547.9854 | 1383.6497 | 1393.1868 | 4.4437 | 0.90843 | 0.90843 | 1406.2363 | 3.5486
61 | 4354.4832 | 1637.0238 | 2.66 | 9972100 | 163010 | 1981.9266 | 1771.5233 | 1783.734 | 8.962 | 0.92108 | 0.92108 | 1825.513 | 11.5141 | 11037000 | 177630 | 2013.0285 | 1799.3234 | 1811.7256 | 10.6719 | 0.92152 | 0.92152 | 1855.046 | 13.3182
62 | 4354.4832 | 1637.0238 | 2.66 | 9574400 | 163010 | 1902.8849 | 1700.8727 | 1712.5964 | 4.6165 | 0.92519 | 0.92519 | 1760.5301 | 7.5446 | 10653000 | 177630 | 1942.9911 | 1736.7212 | 1748.692 | 6.8214 | 0.92374 | 0.92374 | 1794.8186 | 9.6391
63 | 4354.4832 | 1637.0238 | 2.66 | 9756800 | 163010 | 1939.1364 | 1733.2757 | 1745.2227 | 6.6095 | 0.91933 | 0.91933 | 1782.7062 | 8.8992 | 10826000 | 177630 | 1974.5444 | 1764.9248 | 1777.0899 | 8.5561 | 0.91937 | 0.91937 | 1815.3369 | 10.8925
64 | 4173.0464 | 1568.8144 | 2.66 | 10662000 | 163010 | 2119.0423 | 1894.0827 | 1907.1381 | 21.5656 | 0.92794 | 0.92794 | 1966.3441 | 25.3395 | 11768000 | 177630 | 2146.3549 | 1918.4957 | 1931.7194 | 23.1324 | 0.92674 | 0.92674 | 1989.113 | 26.7908
65 | 4173.0464 | 1568.8144 | 2.66 | 10449000 | 163010 | 2076.7091 | 1856.2436 | 1869.0382 | 19.137 | 0.92283 | 0.92283 | 1916.4495 | 22.1591 | 11622000 | 177630 | 2119.7261 | 1894.6939 | 1907.7535 | 21.6048 | 0.9222 | 0.9222 | 1954.8114 | 24.6044
66 | 4173.0464 | 1568.8144 | 2.66 | 9626700 | 163010 | 1913.2793 | 1710.1637 | 1721.9514 | 9.7613 | 0.91317 | 0.91317 | 1747.1493 | 11.3675 | 10660000 | 177630 | 1944.2678 | 1737.8624 | 1749.841 | 11.5391 | 0.91351 | 0.91351 | 1776.1081 | 13.2134
67 | 7098.7148 | 2668.6898 | 2.66 | 18175000 | 163010 | 3612.2298 | 3228.7519 | 3251.0068 | 21.8203 | 0.8948 | 0.8948 | 3232.2232 | 21.1165 | 20185000 | 177630 | 3681.524 | 3290.6897 | 3313.3716 | 24.1572 | 0.89474 | 0.89474 | 3294.0067 | 23.4316
68 | 7098.7148 | 2668.6898 | 2.66 | 18960000 | 163010 | 3768.2463 | 3368.2055 | 3391.4217 | 27.0819 | 0.91225 | 0.91225 | 3437.5827 | 28.8116 | 20928000 | 177630 | 3817.0391 | 3411.8184 | 3435.3352 | 28.7274 | 0.91214 | 0.91214 | 3481.674 | 30.4638
69 | 7098.7148 | 2668.6898 | 2.66 | 18907000 | 163010 | 3757.7127 | 3358.7902 | 3381.9414 | 26.7267 | 0.91519 | 0.91519 | 3439.0211 | 28.8655 | 20929000 | 177630 | 3817.2215 | 3411.9814 | 3435.4993 | 28.7336 | 0.91557 | 0.91557 | 3494.9334 | 30.9606
70 | 4808.0752 | 1807.5471 | 2.66 | 11038000 | 163010 | 2193.7712 | 1960.8783 | 1974.3941 | 9.2306 | 0.88662 | 0.88662 | 1945.0414 | 7.6067 | 12167000 | 177630 | 2219.1282 | 1983.5433 | 1997.2154 | 10.4931 | 0.88536 | 0.88536 | 1964.7273 | 8.6958
71 | 4808.0752 | 1807.5471 | 2.66 | 11833000 | 163010 | 2351.7752 | 2102.1084 | 2116.5977 | 17.0978 | 0.89623 | 0.89623 | 2107.7315 | 16.6073 | 13126000 | 177630 | 2394.0393 | 2139.8857 | 2154.6354 | 19.2022 | 0.89627 | 0.89627 | 2145.7056 | 18.7081
72 | 4808.0752 | 1807.5471 | 2.66 | 11188000 | 163010 | 2223.5833 | 1987.5255 | 2001.225 | 10.715 | 0.89083 | 0.89083 | 1980.8347 | 9.5869 | 12433000 | 177630 | 2267.6437 | 2026.9084 | 2040.8793 | 12.9088 | 0.89036 | 0.89036 | 2019.0192 | 11.6994
73 | 4150.3668 | 1560.2883 | 2.66 | 10022000 | 163010 | 1991.8441 | 1780.388 | 1792.6597 | 14.8929 | 0.91141 | 0.91141 | 1815.3866 | 16.3494 | 11174000 | 177630 | 2038.0158 | 1821.658 | 1834.2142 | 17.5561 | 0.91141 | 0.91141 | 1857.468 | 19.0465
74 | 4150.3668 | 1560.2883 | 2.66 | 9856900 | 163010 | 1959.0309 | 1751.0583 | 1763.1279 | 13.0001 | 0.90338 | 0.90338 | 1769.7494 | 13.4245 | 10905000 | 177630 | 1988.9531 | 1777.8039 | 1790.0578 | 14.7261 | 0.9035 | 0.9035 | 1797.0191 | 15.1723
75 | 4150.3668 | 1560.2883 | 2.66 | 9203000 | 163010 | 1829.0702 | 1634.8943 | 1646.1632 | 5.5038 | 0.90203 | 0.90203 | 1649.8762 | 5.7418 | 10235000 | 177630 | 1866.7524 | 1668.5761 | 1680.0772 | 7.6774 | 0.90394 | 0.90394 | 1687.4322 | 8.1487
76 | 6985.3168 | 2626.0589 | 2.66 | 17896000 | 163010 | 3556.7793 | 3179.1881 | 3201.1014 | 21.8975 | 0.91698 | 0.91698 | 3261.4955 | 24.1973 | 19803000 | 177630 | 3611.8513 | 3228.4136 | 3250.6662 | 23.785 | 0.91561 | 0.91561 | 3307.0472 | 25.9319
77 | 6985.3168 | 2626.0589 | 2.66 | 16745000 | 163010 | 3328.0213 | 2974.7153 | 2995.2192 | 14.0576 | 0.90741 | 0.90741 | 3019.8798 | 14.9966 | 18369000 | 177630 | 3350.3054 | 2994.6336 | 3015.2748 | 14.8213 | 0.90781 | 0.90781 | 3041.4407 | 15.8177
78 | 6985.3168 | 2626.0589 | 2.66 | 15509000 | 163010 | 3082.3698 | 2755.1424 | 2774.1328 | 5.6386 | 0.88702 | 0.88702 | 2734.1237 | 4.1151 | 17075000 | 177630 | 3114.2939 | 2783.6773 | 2802.8645 | 6.7327 | 0.88906 | 0.88906 | 2768.7941 | 5.4353
79 | 7801.7824 | 2933.0009 | 2.66 | 14654000 | 163010 | 2912.441 | 2603.2533 | 2621.1969 | 10.6309 | 0.87807 | 0.87807 | 2557.3271 | 12.8085 | 16123000 | 177630 | 2940.6594 | 2628.4761 | 2646.5935 | 9.765 | 0.87818 | 0.87818 | 2582.4283 | 11.9527
80 | 7801.7824 | 2933.0009 | 2.66 | 14207000 | 163010 | 2823.601 | 2523.8447 | 2541.2409 | 13.357 | 0.85979 | 0.85979 | 2427.7039 | 17.228 | 15635000 | 177630 | 2851.6536 | 2548.9192 | 2566.4882 | 12.4962 | 0.85901 | 0.85901 | 2449.5989 | 16.4815
81 | 7801.7824 | 2933.0009 | 2.66 | 14308000 | 163010 | 2843.6745 | 2541.7872 | 2559.307 | 12.741 | 0.92492 | 0.92492 | 2630.1714 | 10.3249 | 15644000 | 177630 | 2853.2951 | 2550.3864 | 2567.9656 | 12.4458 | 0.92513 | 0.92513 | 2639.6689 | 10.0011
82 | 4740.0364 | 1781.9686 | 2.66 | 10708000 | 163010 | 2128.1847 | 1902.2545 | 1915.3662 | 7.486 | 0.90842 | 0.90842 | 1933.2855 | 8.4916 | 11769000 | 177630 | 2146.5373 | 1918.6588 | 1931.8836 | 8.4129 | 0.90401 | 0.90401 | 1940.4912 | 8.8959
83 | 4740.0364 | 1781.9686 | 2.66 | 11782000 | 163010 | 2341.6391 | 2093.0484 | 2107.4752 | 18.2667 | 0.88153 | 0.88153 | 2064.2251 | 15.8396 | 13006000 | 177630 | 2372.1526 | 2120.3225 | 2134.9374 | 19.8078 | 0.88147 | 0.88147 | 2090.9814 | 17.3411
84 | 4740.0364 | 1781.9686 | 2.66 | 10722000 | 163010 | 2130.9671 | 1904.7415 | 1917.8704 | 7.6265 | 0.89747 | 0.89747 | 1912.4791 | 7.324 | 11823000 | 177630 | 2156.3863 | 1927.4622 | 1940.7477 | 8.9103 | 0.89871 | 0.89871 | 1937.9659 | 8.7542
85 | 3016.3868 | 1133.98 | 2.66 | 7242100 | 163010 | 1439.3469 | 1286.5444 | 1295.4122 | 14.2359 | 0.89733 | 0.89733 | 1291.5691 | 13.897 | 7973100 | 177630 | 1454.2065 | 1299.8265 | 1308.7859 | 15.4153 | 0.89912 | 0.89912 | 1307.5062 | 15.3024
86 | 3016.3868 | 1133.98 | 2.66 | 6937100 | 163010 | 1378.729 | 1232.3617 | 1240.8561 | 9.4249 | 0.8428 | 0.8428 | 1161.9928 | 2.4703 | 7611400 | 177630 | 1388.2364 | 1240.8598 | 1249.4127 | 10.1794 | 0.84632 | 0.84632 | 1174.8922 | 3.6078
87 | 3016.3868 | 1133.98 | 2.66 | 7132500 | 163010 | 1417.5642 | 1267.0741 | 1275.8077 | 12.5071 | 0.83172 | 0.83172 | 1179.0165 | 3.9715 | 7863200 | 177630 | 1434.162 | 1281.9099 | 1290.7458 | 13.8244 | 0.83163 | 0.83163 | 1192.6921 | 5.1775
88 | 5692.5796 | 2140.0675 | 2.66 | 12005000 | 163010 | 2385.9597 | 2132.6639 | 2147.3638 | 0.34094 | 0.90783 | 0.90783 | 2166.0458 | 1.2139 | 13252000 | 177630 | 2417.0203 | 2160.4271 | 2175.3183 | 1.6472 | 0.90386 | 0.90386 | 2184.648 | 2.0831
89 | 5692.5796 | 2140.0675 | 2.66 | 12317000 | 163010 | 2447.9689 | 2188.09 | 2203.172 | 2.9487 | 0.92703 | 0.92703 | 2269.3406 | 6.0406 | 13562000 | 177630 | 2473.561 | 2210.9653 | 2226.2049 | 4.025 | 0.92682 | 0.92682 | 2292.5458 | 7.1249
90 | 5692.5796 | 2140.0675 | 2.66 | 10620000 | 163010 | 2110.6949 | 1886.6214 | 1899.6254 | 11.2353 | 0.92716 | 0.92716 | 1956.9519 | 8.5565 | 11630000 | 177630 | 2121.1852 | 1895.9981 | 1909.0667 | 10.7941 | 0.92665 | 0.92665 | 1965.5963 | 8.1526
91 | 3628.736 | 1364.1865 | 2.66 | 6866400 | 163010 | 1364.6775 | 1219.802 | 1228.2098 | 9.9676 | 0.91633 | 0.91633 | 1250.495 | 8.334 | 7568100 | 177630 | 1380.3389 | 1233.8008 | 1242.305 | 8.9344 | 0.9161 | 0.9161 | 1264.5285 | 7.3053
92 | 3628.736 | 1364.1865 | 2.66 | 6769600 | 163010 | 1345.4388 | 1202.6057 | 1210.8949 | 11.2368 | 0.9202 | 0.9202 | 1238.0728 | 9.2446 | 7460300 | 177630 | 1360.6774 | 1216.2265 | 1224.6097 | 10.2315 | 0.92074 | 0.92074 | 1252.8301 | 8.1628
93 | 3628.736 | 1364.1865 | 2.66 | 6982300 | 163010 | 1387.7123 | 1240.3914 | 1248.9411 | 8.4479 | 0.9206 | 0.9206 | 1277.528 | 6.3524 | 7710500 | 177630 | 1406.3111 | 1257.0158 | 1265.68 | 7.2209 | 0.92191 | 0.92191 | 1296.4923 | 4.9622
94 | 7847.1416 | 2950.0532 | 2.66 | 16022000 | 163010 | 3184.3271 | 2846.2758 | 2865.8944 | 2.8528 | 0.934 | 0.934 | 2974.1615 | 0.81722 | 17638000 | 177630 | 3216.9789 | 2875.4612 | 2895.281 | 1.8567 | 0.93147 | 0.93147 | 2996.5194 | 1.5751
95 | 7847.1416 | 2950.0532 | 2.66 | 15650000 | 163010 | 3110.3932 | 2780.1907 | 2799.3538 | 5.1084 | 0.90701 | 0.90701 | 2821.1577 | 4.3693 | 17263000 | 177630 | 3148.583 | 2814.3263 | 2833.7247 | 3.9433 | 0.90722 | 0.90722 | 2856.4575 | 3.1727
96 | 7847.1416 | 2950.0532 | 2.66 | 15446000 | 163010 | 3069.8487 | 2743.9505 | 2762.8639 | 6.3453 | 0.90512 | 0.90512 | 2778.5815 | 5.8125 | 16937000 | 177630 | 3089.1242 | 2761.1797 | 2780.2118 | 5.7572 | 0.90674 | 0.90674 | 2801.0324 | 5.0515
97 | 3674.0952 | 1381.2388 | 2.66 | 7816400 | 163010 | 1553.4874 | 1388.5676 | 1398.1386 | 1.2235 | 0.87112 | 0.87112 | 1353.2739 | 2.0246 | 8628200 | 177630 | 1573.6896 | 1406.6252 | 1416.3207 | 2.5399 | 0.87142 | 0.87142 | 1371.3446 | 0.71633
98 | 3674.0952 | 1381.2388 | 2.66 | 7335200 | 163010 | 1457.8502 | 1303.0834 | 1312.0652 | 5.0081 | 0.89037 | 0.89037 | 1298.0261 | 6.0245 | 8166900 | 177630 | 1489.5535 | 1331.421 | 1340.5982 | 2.9423 | 0.88899 | 0.88899 | 1324.1982 | 4.1297
99 | 3674.0952 | 1381.2388 | 2.66 | 7332800 | 163010 | 1457.3732 | 1302.657 | 1311.6359 | 5.0392 | 0.90423 | 0.90423 | 1317.8006 | 4.5928 | 8079000 | 177630 | 1473.5215 | 1317.091 | 1326.1694 | 3.987 | 0.90285 | 0.90285 | 1330.3689 | 3.6829
100 | 4558.5996 | 1713.7592 | 2.66 | 9958500 | 163010 | 1979.2237 | 1769.1073 | 1781.3013 | 3.9412 | 0.91584 | 0.91584 | 1812.6522 | 5.7705 | 11061000 | 177630 | 2017.4058 | 1803.236 | 1815.6652 | 5.9463 | 0.91438 | 0.91438 | 1844.6755 | 7.6391
101 | 4558.5996 | 1713.7592 | 2.66 | 9785400 | 163010 | 1944.8205 | 1738.3564 | 1750.3385 | 2.1344 | 0.88554 | 0.88554 | 1722.2164 | 0.49348 | 10717000 | 177630 | 1954.664 | 1747.1549 | 1759.1976 | 2.6514 | 0.88682 | 0.88682 | 1733.4351 | 1.1481
102 | 4558.5996 | 1713.7592 | 2.66 | 10125000 | 163010 | 2012.3151 | 1798.6857 | 1811.0836 | 5.679 | 0.90899 | 0.90899 | 1829.1743 | 6.7346 | 11121000 | 177630 | 2028.3492 | 1813.0176 | 1825.5143 | 6.521 | 0.90956 | 0.90956 | 1844.9053 | 7.6525
103 | 3447.2992 | 1295.9771 | 2.66 | 6463800 | 163010 | 1284.6619 | 1148.2809 | 1156.1957 | 10.7858 | 0.89634 | 0.89634 | 1151.4939 | 11.1486 | 7086800 | 177630 | 1292.5551 | 1155.3361 | 1163.2996 | 10.2376 | 0.89274 | 0.89274 | 1153.9156 | 10.9617
104 | 3447.2992 | 1295.9771 | 2.66 | 7268700 | 163010 | 1444.6335 | 1291.2698 | 1300.1702 | 0.32354 | 0.88923 | 0.88923 | 1284.6115 | 0.877 | 7990800 | 177630 | 1457.4348 | 1302.7121 | 1311.6913 | 1.2125 | 0.8891 | 0.8891 | 1295.8053 | 0.01326
105 | 3447.2992 | 1295.9771 | 2.66 | 6793600 | 163010 | 1350.2088 | 1206.8692 | 1215.1879 | 6.2338 | 0.9079 | 0.9079 | 1225.8545 | 5.4108 | 7467000 | 177630 | 1361.8994 | 1217.3188 | 1225.7095 | 5.422 | 0.9092 | 0.9092 | 1238.2389 | 4.4552
106 | 4059.6484 | 1526.1836 | 2.66 | 8437800 | 163010 | 1676.9888 | 1498.958 | 1509.29 | 1.1069 | 0.87016 | 0.87016 | 1459.2486 | 4.3858 | 9283300 | 177630 | 1693.1727 | 1513.4238 | 1523.8555 | 0.15255 | 0.8724 | 0.8724 | 1477.1239 | 3.2145
107 | 4059.6484 | 1526.1836 | 2.66 | 8638400 | 163010 | 1716.8575 | 1534.5942 | 1545.1718 | 1.2442 | 0.90137 | 0.90137 | 1547.5239 | 1.3983 | 9501200 | 177630 | 1732.9153 | 1548.9473 | 1559.6238 | 2.1911 | 0.90524 | 0.90524 | 1568.7043 | 2.7861
108 | 4059.6484 | 1526.1836 | 2.66 | 7753100 | 163010 | 1540.9067 | 1377.3225 | 1386.816 | 9.1318 | 0.91291 | 0.91291 | 1406.7091 | 7.8283 | 8608600 | 177630 | 1570.1148 | 1403.4298 | 1413.1033 | 7.4094 | 0.91196 | 0.91196 | 1431.8819 | 6.1789
109 | 3129.7848 | 1176.6108 | 2.66 | 6338600 | 163010 | 1259.7788 | 1126.0394 | 1133.8009 | 3.6384 | 0.91927 | 0.91927 | 1158.0768 | 1.5752 | 6968200 | 177630 | 1270.9237 | 1136.0012 | 1143.8313 | 2.7859 | 0.91869 | 0.91869 | 1167.5849 | 0.76711
110 | 3129.7848 | 1176.6108 | 2.66 | 6370300 | 163010 | 1266.0791 | 1131.6709 | 1139.4712 | 3.1565 | 0.9211 | 0.9211 | 1166.1854 | 0.88605 | 7023000 | 177630 | 1280.9186 | 1144.935 | 1152.8268 | 2.0214 | 0.9205 | 0.9205 | 1179.0856 | 0.21033
111 | 3129.7848 | 1176.6108 | 2.66 | 6385700 | 163010 | 1269.1398 | 1134.4066 | 1142.2258 | 2.9224 | 0.92907 | 0.92907 | 1179.1197 | 0.21323 | 7035300 | 177630 | 1283.162 | 1146.9403 | 1154.8458 | 1.8498 | 0.92911 | 0.92911 | 1192.1987 | 1.3248
112 | 5669.9 | 2131.5414 | 2.66 | 12611000 | 163010 | 2506.4005 | 2240.3185 | 2255.7605 | 5.8277 | 0.9416 | 0.9416 | 2360.0267 | 10.7193 | 13928000 | 177630 | 2540.3154 | 2270.633 | 2286.2838 | 7.2597 | 0.94118 | 0.94118 | 2390.894 | 12.1674
113 | 5669.9 | 2131.5414 | 2.66 | 12085000 | 163010 | 2401.8595 | 2146.8757 | 2161.6736 | 1.4136 | 0.93325 | 0.93325 | 2241.5354 | 5.1603 | 13305000 | 177630 | 2426.687 | 2169.0675 | 2184.0183 | 2.4619 | 0.93434 | 0.93434 | 2267.3507 | 6.3714
114 | 5669.9 | 2131.5414 | 2.66 | 11835000 | 163010 | 2352.1727 | 2102.4637 | 2116.9554 | 0.68429 | 0.88847 | 0.88847 | 2089.8349 | 1.9566 | 13022000 | 177630 | 2375.0708 | 2122.931 | 2137.5638 | 0.28254 | 0.89056 | 0.89056 | 2115.1431 | 0.76931
115 | 11997.5084 | 4510.3415 | 2.66 | 27538000 | 163010 | 5473.0995 | 4892.0698 | 4925.7895 | 9.211 | 0.84437 | 0.84437 | 4621.321 | 2.4606 | 30105000 | 177630 | 5490.8238 | 4907.9125 | 4941.7414 | 9.5647 | 0.84524 | 0.84524 | 4641.0639 | 2.8983
116 | 11997.5084 | 4510.3415 | 2.66 | 26911000 | 163010 | 5348.485 | 4780.6845 | 4813.6365 | 6.7244 | 0.88776 | 0.88776 | 4748.171 | 5.273 | 29640000 | 177630 | 5406.0129 | 4832.1052 | 4865.4116 | 7.8724 | 0.88834 | 0.88834 | 4802.3775 | 6.4748
117 | 11997.5084 | 4510.3415 | 2.66 | 25889000 | 163010 | 5145.3654 | 4599.1283 | 4630.8289 | 2.6714 | 0.86744 | 0.86744 | 4463.2958 | 1.0431 | 28298000 | 177630 | 5161.2467 | 4613.3236 | 4645.122 | 2.9883 | 0.86883 | 0.86883 | 4484.246 | 0.57857
118 | 10772.81 | 4049.9286 | 2.66 | 29588000 | 163010 | 5880.5312 | 5256.2481 | 5292.4781 | 30.6808 | 0.77938 | 0.77938 | 4583.1684 | 13.1666 | 32331000 | 177630 | 5896.822 | 5270.8095 | 5307.1398 | 31.0428 | 0.779 | 0.779 | 4593.6243 | 13.4248
119 | 10772.81 | 4049.9286 | 2.66 | 25369000 | 163010 | 5042.0169 | 4506.7513 | 4537.8152 | 12.0468 | 0.88148 | 0.88148 | 4444.437 | 9.7411 | 27659000 | 177630 | 5044.7001 | 4509.1497 | 4540.2301 | 12.1064 | 0.88223 | 0.88223 | 4450.5858 | 9.8929
120 | 10772.81 | 4049.9286 | 2.66 | 25915000 | 163010 | 5150.5328 | 4603.7471 | 4635.4795 | 14.4583 | 0.87271 | 0.87271 | 4494.9215 | 10.9877 | 28435000 | 177630 | 5186.234 | 4635.6583 | 4667.6106 | 15.2517 | 0.87537 | 0.87537 | 4539.8737 | 12.0976
Note1: Total 40 particles in triplet, E.g., Particle No.1 is : 1 & 2 & 3 | [7 empty] | Average Error (%) | 8.4576 |  |  | Average Error (%) | 8.3658 |  |  |  |  | Average Error (%) | 8.2171 |  |  | Average Error (%) | 8.156
Note2: No measured volume data in field.

## Jul_12_average
ID | Measured Volume, Assumed (cm3) | Based on minimum ball dimension |  |  |  | Based on equivalent diameter
|  | Average Recon'd Volume (cm3) | Average Recon'd Real ball Volume (cm3) | Average Force Correction 0.9 Volume (cm3) | Average Dynamic Correction Volume (cm3) | Average Recon'd Volume (cm3) | Average Recon'd Real ball Volume (cm3) | Average Force Correction 0.9 Volume (cm3) | Average Dynamic Correction Volume (cm3)
1 | 1517.6574 | 1776.3694 | 1587.7883 | 1598.7325 | 1552.5444 | 1765.2519 | 1577.851 | 1588.7267 | 1546.0433
2 | 1449.4481 | 1655.3467 | 1479.6134 | 1489.812 | 1494.434 | 1647.9711 | 1473.0208 | 1483.174 | 1488.4274
3 | 3461.6232 | 3705.8633 | 3312.4452 | 3335.277 | 3379.1867 | 3704.3392 | 3311.0829 | 3333.9053 | 3377.7271
4 | 1151.0323 | 1434.6548 | 1282.3505 | 1291.1894 | 1279.9647 | 1431.8808 | 1279.871 | 1288.6928 | 1276.5965
5 | 2071.8582 | 2340.2053 | 2091.7667 | 2106.1847 | 2066.9177 | 2339.0666 | 2090.7489 | 2105.1599 | 2067.0022
6 | 2114.489 | 2502.0322 | 2236.414 | 2251.829 | 2282.5506 | 2498.6696 | 2233.4084 | 2248.8027 | 2279.241
7 | 1449.4481 | 1615.6165 | 1444.101 | 1454.0548 | 1420.74 | 1614.757 | 1443.3328 | 1453.2813 | 1418.2711
8 | 1142.5062 | 1264.07 | 1129.8751 | 1137.663 | 1168.0816 | 1258.1429 | 1124.5772 | 1132.3286 | 1163.1828
9 | 1406.8173 | 1667.524 | 1490.498 | 1500.7716 | 1512.9421 | 1670.0212 | 1492.7301 | 1503.0191 | 1513.072
10 | 886.7212 | 994.4794 | 888.9045 | 895.0315 | 921.4831 | 994.9213 | 889.2994 | 895.4291 | 921.8064
11 | 1389.765 | 1310.2743 | 1171.1742 | 1179.2468 | 1152.3278 | 1342.6703 | 1200.1311 | 1208.4033 | 1181.9238
12 | 1432.3958 | 1432.2679 | 1280.2169 | 1289.0411 | 1294.0749 | 1468.6851 | 1312.768 | 1321.8166 | 1328.8299
13 | 1364.1865 | 1363.3684 | 1218.6319 | 1227.0316 | 1163.5333 | 1395.4903 | 1247.3436 | 1255.9412 | 1191.1883
14 | 1679.6546 | 1690.9095 | 1511.4008 | 1521.8185 | 1553.4308 | 1728.1499 | 1544.6878 | 1555.3349 | 1587.6797
15 | 1449.4481 | 1464.7517 | 1309.2522 | 1318.2765 | 1312.3388 | 1502.1531 | 1342.683 | 1351.9378 | 1346.8645
16 | 1551.7621 | 1628.477 | 1455.5962 | 1465.6293 | 1407.0228 | 1663.0679 | 1486.515 | 1496.7611 | 1433.952
17 | 2327.6432 | 2400.8771 | 2145.9976 | 2160.7894 | 2142.0942 | 2459.4973 | 2198.3946 | 2213.5475 | 2195.0829
18 | 1261.8725 | 1193.0209 | 1066.3686 | 1073.7188 | 1076.6033 | 1218.7333 | 1089.3513 | 1096.86 | 1100.142
19 | 1594.3929 | 1599.1361 | 1429.3703 | 1439.2225 | 1446.1481 | 1644.6877 | 1470.086 | 1480.2189 | 1482.2029
20 | 1457.9743 | 1516.242 | 1355.2763 | 1364.6178 | 1396.546 | 1559.25 | 1393.7185 | 1403.325 | 1435.7113
21 | 1637.0238 | 1941.316 | 1735.2239 | 1747.1844 | 1789.5831 | 1976.8546 | 1766.9898 | 1779.1692 | 1821.7338
22 | 1568.8144 | 2036.3436 | 1820.1633 | 1832.7092 | 1876.6476 | 2070.1163 | 1850.3507 | 1863.1046 | 1906.6775
23 | 2668.6898 | 3712.7296 | 3318.5825 | 3341.4566 | 3369.609 | 3771.9282 | 3371.4965 | 3394.7353 | 3423.5381
24 | 1807.5471 | 2256.3766 | 2016.8374 | 2030.7389 | 2011.2026 | 2293.6037 | 2050.1125 | 2064.2433 | 2043.1507
25 | 1560.2883 | 1926.6484 | 1722.1135 | 1733.9836 | 1745.0041 | 1964.5738 | 1756.0127 | 1768.1164 | 1780.6398
26 | 2626.0589 | 3322.3901 | 2969.6819 | 2990.1511 | 3005.1663 | 3358.8168 | 3002.2415 | 3022.9352 | 3039.094
27 | 2933.0009 | 2859.9055 | 2556.2951 | 2573.9149 | 2538.4008 | 2881.8694 | 2575.9272 | 2593.6824 | 2557.232
28 | 1781.9686 | 2200.2636 | 1966.6815 | 1980.2373 | 1969.9966 | 2225.0254 | 1988.8145 | 2002.5229 | 1989.8128
29 | 1133.98 | 1411.88 | 1261.9934 | 1270.692 | 1210.8595 | 1425.535 | 1274.1987 | 1282.9815 | 1225.0302
30 | 2140.0675 | 2314.8745 | 2069.1251 | 2083.387 | 2130.7794 | 2337.2555 | 2089.1301 | 2103.53 | 2147.5967
31 | 1364.1865 | 1365.9429 | 1220.933 | 1229.3486 | 1255.3653 | 1382.4425 | 1235.681 | 1244.1982 | 1271.2836
32 | 2950.0532 | 3121.523 | 2790.139 | 2809.3707 | 2857.9669 | 3151.562 | 2816.9891 | 2836.4058 | 2884.6698
33 | 1381.2388 | 1489.5703 | 1331.436 | 1340.6132 | 1323.0335 | 1512.2549 | 1351.7124 | 1361.0294 | 1341.9706
34 | 1713.7592 | 1978.7864 | 1768.7165 | 1780.9078 | 1788.0143 | 2000.1397 | 1787.8028 | 1800.1257 | 1807.672
35 | 1295.9771 | 1359.8347 | 1215.4733 | 1223.8513 | 1220.6533 | 1370.6298 | 1225.1223 | 1233.5668 | 1229.3199
36 | 1526.1836 | 1644.9177 | 1470.2916 | 1480.4259 | 1471.1605 | 1665.4009 | 1488.6003 | 1498.8608 | 1492.57
37 | 1176.6108 | 1264.9992 | 1130.7056 | 1138.4993 | 1167.794 | 1278.3348 | 1142.6255 | 1150.5013 | 1179.6231
38 | 2131.5414 | 2420.1442 | 2163.2193 | 2178.1298 | 2230.4657 | 2447.3577 | 2187.5438 | 2202.622 | 2257.7959
39 | 4510.3415 | 5322.3166 | 4757.2942 | 4790.085 | 4610.9293 | 5352.6945 | 4784.4471 | 4817.425 | 4642.5625
40 | 4049.9286 | 5357.6936 | 4788.9155 | 4821.9243 | 4507.509 | 5375.9187 | 4805.2058 | 4838.3268 | 4528.0279

## Jul_12_RR5
ID | Measured Weight, Dry (g) | Measured Volume, Assumed (cm3) | Density (g/cm3) | Based on minimum ball dimension | [9 empty] | Based on equivalent ball dimension
|  |  |  | Rock Voxel | Ball Voxel | Recon'd Volume w/ Recon'd ball (cm3) | Recon'd Volume w/ Real ball (cm3) | Force Correction 0.9 Volume (cm3) | Force Correction 0.9 Error (%) | Correction (minimum) | Increased Correction (minimum) | Corrected Volume w/ Recon'd ball (cm3) | Corrected Volume Error (%) | Rock Voxel | Ball Voxel | Recon'd Volume w/ Recon'd ball (cm3) | Recon'd Volume w/ Real ball (cm3) | Force Correction 0.9 Volume (cm3) | Force Correction 0.9 Error (%) | Correction (minimum) | Increased Correction (minimum) | Corrected Volume w/ Recon'd ball (cm3) | Corrected Volume Error (%)
1 | 125645 | 47234.9624 | 2.66 | 25602000 | 12392 | 66934.1391 | 59828.3443 | 60240.7252 | 27.5342 | 0.85426 | 0.85426 | 57179.1577 | 21.0526 | 24940000 | 12500 | 64640.042 | 57777.7908 | 58176.0378 | 23.1631 | 0.85918 | 0.85918 | 55537.4313 | 17.577 | 0.73074
2 | 250383 | 94128.9474 | 2.66 | 56982000 | 14335 | 128782.0057 | 115110.3799 | 115903.8051 | 23.133 | 0.88515 | 0.88515 | 113991.3924 | 21.1013 | 48192000 | 11644 | 134087.393 | 119852.542 | 120678.6537 | 28.2057 | 0.8848 | 0.8848 | 118640.5253 | 26.0404 | 0.702
3 | 136985 | 51498.1203 | 2.66 | 19328000 | 8945 | 70003.8242 | 62572.1486 | 63003.4418 | 22.3412 | 0.88242 | 0.88242 | 61772.7746 | 19.9515 | 17307000 | 7743 | 72414.8654 | 64727.2313 | 65173.3789 | 26.5549 | 0.88341 | 0.88341 | 63972.0163 | 24.222 | 0.71115
4 | 147191 | 55334.9624 | 2.66 | 28414000 | 14995 | 61390.49 | 54873.2145 | 55251.441 | 0.15094 | 0.87872 | 0.87872 | 53945.0514 | 2.5118 | 25992000 | 13833 | 60874.9356 | 54412.3919 | 54787.4421 | 0.98947 | 0.87971 | 0.87971 | 53552.2896 | 3.2216 | 0.90899
5 | 172365 | 64798.8722 | 2.66 | 36666000 | 14799 | 80268.7237 | 71747.3161 | 72241.8513 | 11.4863 | 0.94182 | 0.94182 | 75598.6893 | 16.6667 | 32086000 | 13483 | 77098.1999 | 68913.3783 | 69388.3799 | 7.0827 | 0.93983 | 0.93983 | 72459.2012 | 11.8217 | 0.84047
Note1: Total 40 particles in triplet, E.g., Particle No.1 is : 1 & 2 & 3 | [7 empty] | Average Error (%) | 16.9291 |  |  | Average Error (%) | 16.2568 |  |  |  |  | Average Error (%) | 17.1992 |  |  | Average Error (%) | 16.5765
Note2: No measured volume data in field.